TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Laminar flow visualization table.

Flow visualization area.

Eight sources and eight sinks.

Sinks and sources control valves.

Input control valves.

Dye tank.

Dye manifold.

Drain valve.

Grid to facilitate the visualization of the lines of flow.

The top glass sheet of the visualization area has handles to lift it easily for a correct operation or to install the different hydrodynamic models.

The central sink of the bottom plate, placed in the visualization area, has a doublet, that is to say, there is a sink and source in close proximity.

The control systems allow every sink and source or only some of them to be fed at the same time.

It is supplied with a dye injection system, for a better visualization of the flow lines. It consists of nineteen needles, placed between the glass sheets at the input. They are feed from a simple adapter. An appropriate quantity of dye is injected through each needle and the direction is clearly visualized.

It includes a set of hydrodynamic models:

Three circular models: 40, 60 and 80 mm diameter.

Three square models: 40, 60 and 80 mm of length.

Wing shaped model.

The unit can be completely drained by opening the drain valves located on the base of the input and output tanks.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Unit: - Dimensions: 1600 x 1000 x 1250 mm approx. (62.99 x 39.37 x 49.21 inches approx.) - Weight: 60 Kg approx. 132 pounds approx.)

Work area: - Dimensions: 605 x 900 mm approx. (23.81 x 35.43 inches approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

Ideal flow around immersed bodies:

1.-  Ideal flow around a cylinder.

2.-  Ideal flow around a surface.

3.-  Ideal flow around a bluff body.

Ideal flow in channels and edges:

4.-  Ideal flow in a convergent channel.

5.-  Ideal flow in a divergent channel.

6.-  Ideal flow through a 90º bend.

7.-  Ideal flow through a sudden contraction.

8.-  Ideal flow through a sudden broadening.

9.-  Replacement of a streamline by a solid boundary.

Ideal flow associated to sinks and sources:

10.-  Formation of a Rankine half-body.

11.-  Formation of a Rankine oval.

12.-  Superposition of sinks and sources.

Optional

LFA/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.