TENDER SPECIFICATIONS

The kit includes:

Manuals.

Set of practice wires.

Coil 1 mHr.

Ceramic capacitor 10 nF.

Ceramic capacitor 47 nF.

Four switches 1 CIR, two positions.

Button potentiometer 10 K.

Resistance 1 W.

Two resistances 2.2 K.

Two resistances 4.7 K.

Eight resistances 1 K.

Resistance 1.5 K.

Two resistances 10 K.

Two resistances 100 W.

Resistances 3.3 K.

Two resistances 330.

Three resistances 470.

Resistance 6.8 K.

Resistance 680.

Two resistances 220.

Required elements (Not included):

- FACO. Power Supply.

- N-M15. Own Development Module.

Additional recommended elements (Not included):

- EDAS/VIS-0.25. EDIBON Data Acquisition System and Virtual Instrumentation (speed: 250,000 samples/s).

or

- EDAS/VIS-1.25. EDIBON Data Acquisition System and Virtual Instrumentation (speed: 1,250,000 samples/s).

Dimensions: 300 x 300 x 200 mm approx. (11.81 x 11.81 x 7.87 inches approx.). Weight: 500 g approx. (1 pound approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

Ohm’s law:

1.- Calculation of the internal resistance of a continuous source.

2.-  Faults study in an internal resistance.

3.-  Internal resistance calculation of an alternating source.

4.-  Theoretical/practical exercises.

Electrical power:

5.-  Power transferred by a DC source to load.

6.-  Power transferred to a load by an AC source.

7.-  Theoretical/practical exercises.

Power supplies combination:

8.-  DC+AC assembly.

9.-  Error study in the circuit, DC assembly.

10.-DC+AC assembly.

11.-Theoretical/practical exercises.

Thèvenin’s and Norton’s theorems:

12.-Thèvenin and Norton equivalent circuits.

13.-Theoretical/practical exercises.

Superposition theorem:

14.-Application of the superposition theorem.

15.-Faults study in the superposition circuit.

16.-Theoretical/practical exercises.

Star/triangle transformation:

17.-Resistance measurement between terminals.

18.-Theoretical/practical exercises.

Wheatstone bridge:

19.-Calibration of a Wheatstone bridge fed by a DC source.

20.-Faults study in the Wheatstone bridge circuit.

21.-Wheatstone bridge calibration fed by an AC source.

21.-Theoretical/practical exercises.

Additional practical possibilities:

23.-Millman’s theorem.

-Several other exercises can be done and designed by the user.

Optional

M16/KIT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.