EDIBON

Edition:ED01/25
Date:May/2025
MCF
BELT FRICTION UNIT

TENDER SPECIFICATIONS
Bench-top unit with adjustable legs.

Anodized aluminum frame and panels made of painted steel.

The “MCF” unit mainly consists of: 

    Four pulleys: a flat one and three V pulleys (one of them is correctly fitted and the others are badly fitted). 

    The pulleys are balanced and mounted on bearings to reduce frictional losses. It has machined grooves to suit the belts.

    The angle of overlap can be varied in increments of 10º.

    Five belts:

        V-shaped toothed belt, 10 mm width.

        V-shaped flat belt, 10 mm width.

        V-shaped flat belt, 13 mm width.

        Flat belt made of leather.

        Flat belt made of rope.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals. 

Required elements (Not included): 

- SET B. Brass Hook and Mass Set 2 kg. (2 units) 

      Each “B type” set included: 

          6 weights of 200 g. (0.44 pounds) 

          6 weights of 100 g. (0.22 pounds) 

          2 weights of 50 g. (0.11 pounds) 

          2 weights of 20 g. (0.044 pounds) 

          2 weights of 10 g. (0.022 pounds) 

          1 support hook of 100 g. (0.22 pounds)
- Dimensions: 550 x 500 x 600 mm approx. (21.65 x 19.68 x 23.62 inches approx.). - Weight: 15 Kg approx. (33 pounds approx.)
EXERCISES AND PRACTICAL POSSIBILITIES
1.-  Investigation of the relationship between the belt tensions and the angle of lap for a flat belt.

2.-  Comparison of the driving torque for a given angle of lap.

Additional practical possibilities: 

3.-  Evaluation of the differences between flat belts and V-shaped belts.

4.-  Evaluation of the differences between V-shaped toothed and flat belts.

5.-  Determination of the coefficient of friction between the pulley and belt for the belt sections.

6.-  Verification of the belt tension equation.
Optional
MCF/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.
- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features: 

• User Data Base Management. 

• Administration and assignment of Workgroup, Task and Training sessions. 

• Creation and Integration of Practical Exercises and Multimedia Resources. 

• Custom Design of Evaluation Methods. 

• Creation and assignment of Formulas & Equations. 

• Equation System Solver Engine. 

• Updatable Contents. 

• Report generation, User Progression Monitoring and Statistics.
- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features: 

• Student Log-In & Self-Registration. 

• Existing Tasks checking & Monitoring. 

• Default contents & scheduled tasks available to be used from the first session. 

• Practical Exercises accomplishment by following the Manual provided by EDIBON. 

• Evaluation Methods to prove your knowledge and progression. 

• Test self-correction. 

• Calculations computing and plotting. 

• Equation System Solver Engine. 

• User Monitoring Learning & Printable Reports. 

• Multimedia-Supported auxiliary resources.
BDAS. Data Acquisition System and Sensors:

For being used with mechanical units. 

BDAS is designed to monitor the measurements of each mechanical unit from a computer.
2

