TENDER SPECIFICATIONS

Bench-top unit with adjustable legs.

Anodized aluminum frame and panels made of painted steel.

The “MDLE” unit consists mainly of:

Three beams:

Material: stainless steel.

Length: 1000 mm.

Cross-section: 25 x 4 mm.

Supports:

Two supports with clamp fixings and dial gauge to realize statically determinate or indeterminate systems. They can also be used as articulated supports. These dial gauges are used to measure forces and the angle of inclination of the beam.

Support with a force gauge to measure the deflection of the beam at a random point.

Device with dial gauge to generate a bending moment at a random point on the beam. The dial gauges measures the angle of inclination of the device.

Dial gauge situated in the upper side of the beam.

Three fixed pulleys situated in the upper side of the unit frame.

Three cords.

Movable hook to situate weights at a random point of the beam.

Set of weights:

Material: Stainless steel.

21 x 5N.

30 x 1N.

It includes seven weight holders (1N).

Measuring ranges:

Force gauge, range: -50 – 50 N, graduations: 1N.

Dial gauge, range: 0 – 20 mm, graduations: 0.01 mm.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1400 x 450 x 1150 mm approx. (55.12 x 17.72 x 45.27 inches approx.). Weight: 20 Kg approx. (44 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of different methods to predict the deformation of a simple bar under load: Principle of virtual work, Mohr's method, etc.

2.-  Study of the principle of superposition.

3.-  Comparison of different methods to determine the elastic line: Principle of virtual work, Mohr's analogy.

4.-  Study of the statically determine and indeterminate systems.

5.- Determination of elastic lines for statically determinate or indeterminate beams under load.

6.-  Determination of the elastic line of a beam under load by the principle of virtual work (calculation).

7.-  Determination of the elastic line of a beam under load by Mohr's method (graphical representation).

8.-  Study of several load cases to different bending moment: point load or bending moment.

9.- Application of the principle of superposition of the beam under loads and moments.

10.-Determination of the maximum deflection of the beam under load.

11.-Determination of the angle of inclination of the beam under load.

12.-Comparison between calculated and theoretical values for angle of inclination and deflection of the beam under load.

Optional

MDLE/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.