TENDER SPECIFICATIONS (for main items)

1 MDUC. Unit:

The Computer Controlled Machine Diagnosis Unit, “MDUC”, includes the following elements:

- The MDU Base Unit, “MDU-UB”.

- The Software, Sensors and Control for MDU Unit, “MDU-SSC”.

- Displacement Sensors for MDU Unit, “MDU-SD”.

- MDU-UB. MDU Base Unit.

Main metallic elements made of stainless steel.

Asynchronous motor with frequency variator, with sliding support and two micrometres:

Drive power: 0.37 kW.

Nominal speed: 2800 rpm.

Adjustable power and speed.

Two shafts:

Short, diameter: 20 mm, length: 300 mm.

Long, diameter: 20 mm, length: 500 mm.

Three flexible motor-shaft couplings in order to compensate possible misalignments.

Two bearing sawhorses:

Ball bearings 6204-SKF.

Two unbalanced flywheels with removable counterweights (screws), thus allowing the balancing in one or two plane:

Diameter: 150 mm, 1700 g each.

Tachometer for recording the speed.

Toolkit and screws for assembly of all components.

Storage case.

Electronic console:

Metal box.

Main switch.

Speed sensor connector.

Motor connector.

Motor start switch.

Motor stop switch.

Motor rotation switch.

Motor controller by potentiometer.

Digital display for motor speed.

Digital display for motor power.

- MDU-SSC. Software, Sensors and Control for MDU Unit.

Two acceleration sensors for recording oscillation travel, oscillation speed and acceleration:

Frequency range: 1 – 10 kHz, sensitivity: 100 mV/g.

Resonance frequency of about 32 kHz.

Optical tachometer sensor:

Range: 100 – 60000 rpm.

Optical range: up to 2 m.

Class 2 laser of 675 nm.

USB connection.

- MDU-SD. Displacement Sensors for MDU Unit.

Two inductive displacement sensors:

Range: 1 – 10 mm.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

Required elements (only one) (Not included):

- MDU-MLB. Mobile Structure for MDU.

Mobile table for the MDU Base Unit, “MDU-UB” or for the Computer Controlled Machine Diagnosis Unit, “MDUC”, with the dimensions of 1100 x 770 x 820 mm.

The Mobile Structure for MDU, “MDU-MLB”, includes:

MDU-SM. Top Table Structure for MDU:

Anodized aluminum frames.

Aluminum frame assembly without mechanization.

Transparent protective cover with safety switch.

Diagram in the front panel with distribution of the elements similar to the real one.

TF-WLB. Wheeled Laboratory Bench.

Anodized aluminum frames.

Aluminum frame assembly without mechanization.

Four steering wheels with brakes on two of them.

Two shelves for the accessories.

or

- MDU-SM. Top Table Structure for MDU.

Anodized aluminum frames.

Aluminum frame assembly without mechanization.

Transparent protective cover with safety switch.

Diagram in the front panel with distribution of the elements similar to the real one.

Additional recommended elements (Not included):

- MDU-BLU. Break and Load Unit.

The set consists mainly of:

Magnetic particle brake (adjustment and measurement of the braking torque):

Speed range: 200 – 2000 rpm.

Braking torque: 10 Nm.

Adjustment and measurement of the braking torque.

Integrated belt drive for the second speed range and the moment range:

Gear ratio between brake shafts: i = 3.

Speed range: 600 – 6000 rpm.

Braking torque: 3.3 Nm.

Axial fan for heat discharge.

Electric protection against superheating

Electronic console:

Main switch.

Brake switch.

Brake controller.

Digital display of brake excitation current.

- MDU-SES. Set of Elastic Shaft.

This set consists primarily of:

Two elastics shafts made of high-grade steel:

Diameter: 10 mm.

Length: 550 mm.

Nominal length between bearings: 450 mm.

Three bearings with holes for sensor housing.

Two bearing supports with oscillating ball bearings.

Vibration amplitude limitation bearing, diameter: 20 mm.

Storage case.

Required elements (Not included): MDU-SD. Displacement Sensors for MDU Unit.

- MDU-SRS. Set of Rotating Shaft with Crank.

The set consists mainly of:

Taker-in plate.

Flange with short shaft (additional recommended element Set of Belt Drive, “MDU-SBD”):

Diameter: 90 mm.

Flange with long shaft (for flywheel).

Diameter: 90 mm.

Six screws:

Hexagon head screw for flange M8 x 20.

Clamping kit.

Two shafts:

Diameter: 20 mm.

Short shaft for “projecting shaft end” simulation:

Length: 85 mm.

Max. allowable bending moment: 15.9 Nm.

Long shaft for “elastic rotor” simulation:

Length: 200 mm.

Max. allowable bending moment: 3,9 Nm.

Centering mandrel for shaft alignment during the test assembly.

Required elements (Not included):

- MDU-SES. Set of Elastic Shaft.

and

- MDU-SBD. Set of Belt Drive.

- MDU-SRBF. Set of Roller Bearings with Faults.

The set consists mainly of:

Six oscillating ball bearings:

Inner diameter: 20 mm.

Outer diameter: 47 mm.

Width: 14 mm.

Number of balls: 12.

Bearings:

Bearing with damaged outer ring.

Bearing with damaged inner ring.

Bearing with damaged rolling element.

Bearing with combined damage.

Widely used bearing.

New and non-faulty bearing

Roller bearing bracket.

Retaining rings.

Tool for retaining rings.

Additional recommended elements (Not included): MDU-SBD. Set of Belt Drive.

- MDU-SCO. Set of Couplings.

The set consists mainly of:

Curved tooth coupling.

Non-faulty flange coupling.

Flange coupling with eccentricity fault:

Eccentricity fault (non-centering):  0.2 mm.

Flange coupling with oscillation fault:

Oscillation fault: 0.4 ± 0.1 mm.

Bolt coupling with variable pitch fault:

Non-eccentric bolt.

Eccentric bolt:

Bolt eccentricity: 1 mm.

Max. pitch error: 180° ± 1.909°.

Four stars for claw coupling:

98 Shore A (red).

92 Shore A (yellow).

64 Shore D (green).

80 Shore A (blue).

Roller bearing bracket with elastic support.

Additional recommended elements (Not included): MDU-BLU. Break and Load Unit.

- MDU-SBD. Set of Belt Drive.

The set consists mainly of:

Rubber V-belt:

SPX profile, approx. 10 mm wide.

Belt length: 915 mm.

Damaged rubber V-belt:

SPX profile, approx. 10 mm wide.

Belt length: 915 mm.

Small drive pulley:

Diameter: 63 mm.

Small pulley with eccentricity fault for the V-belt:

Diameter: 63 mm.

Large pulley:

Diameter: 125 mm.

Distance between shafts: 300 mm.

Clamping kit.

Belt pre-tension meter: 0 – 150 N.

Belt tensioning device.

Individually adjustable tensor rollers.

V-belt tension adjustment.

Required elements (Not included): MDU-BLU. Break and Load Unit.

- MDU-SSDG. Set to Study Damage in Gears.

The set consists mainly of:

Transparent box cover to observe the gear in operation.

Holes for vibration sensors.

Sets of straight-toothed gears, with fault:

Sprocket wheel: 75 teeth each, m= 2.

Pinion: 25 teeth each, m= 2.

Sets of straight-toothed gears, without fault:

Sprocket wheel: 75 teeth each, m= 2.

Pinion: 25 teeth each, m= 2.

Sets of helical-toothed gears, with fault:

Sprocket wheel: 75 teeth each, m= 2.

Pinion: 25 teeth each, m= 2.

Sets of helical-toothed gears, without fault:

Sprocket wheel: 75 teeth each, m= 2.

Pinion: 25 teeth each, m= 2.

Gear fixing shafts.

Variable wheelbase.

Motor oil SAE 10 W – 40, 1 l for lubricating the gears.

Storage case.

Required elements (Not included): MDU-BLU. Break and Load Unit.

- MDU-SCM. Set of Crank Mechanism.

The set consists mainly of:

Crank and connecting rod mechanism with adjustable stroke:

Stroke: 50 – 75 – 100 mm.

Two balance weight masses: Total 490 g, designed to operate with a 50 mm stroke.

Bearing set adjustment:

Bearing clearance: 0 – 1 mm.

Two pressure springs:

Length without tension: 170 mm.

Spring ratio: R = 0.55 N/mm.

Additional recommended elements (Not included):

- MDU-SBD. Set of Belt Drive.

or

- MDU-SSDG. Set to Study Damage in Gears.

- MDU-SSCP. Set to Study Cavitation in Pumps.

The set consists mainly of:

Centrifugal pump:

Max. flow rate: 17 l/min (3300 min-1).

Max. lift height: 12 m (3300 min-1).

Three-vane impeller.

Minimum speed for cavitation:  2240 min-1 approx. (choked suction side).

Two manometers:

Pressure side: 0 – 4 bar.

Suction side: -1 – 1.5 bar.

Casing cap.

Knurled screw to open the casing cap.

Suction side tube.

Two ball valves.

Set of flexible tubes.

Tank:

Material: HDPE.

Capacity: 20  l.

Additional recommended elements (Not included): MDU-SBD. Set of Belt Drive.

- MDU-SSVF. Blower Vibration Set for MDU.

The set consists mainly of:

Steel plate impeller with three movable vanes:

Diameter: 204 mm.

Max. speed: 3000 min-1.

Steel plate impeller with five movable vanes:

Diameter: 204 mm.

Max. speed: 3000 min-1.

Steel plate impeller with seven movable vanes:

Diameter: 204 mm.

Max. speed: 3000 min-1.

Flywheel plate to simulate axial forces.

Protective cover.

Roller bearing bracket.

Aluminum protective plate, diameter: 220 mm.

Permanent magnet.

Additional recommended elements (Not included): MDU-SBD. Set of Belt Drive.

- MDU-SEV. Set of Electromechanical Vibrations.

The set consists mainly of:

Asynchronous motor with variable speed:

Drive power: 0.37 kW.

Nominal speed: 2800 rpm.

Adjustable power and speed.

Variable air gap due to stator displacement.

Winding disconnect switch.

Current clamp. Adjustable magnet-vane distance.

Required elements (Not included): MDU-BLU. Break and Load Unit.

2 MDUC/CIB. Control Interface Box:

The Control Interface Box is part of the SCADA system.

Control interface box with process diagram in the front panel.

The unit control elements are permanently computer controlled.

Simultaneous visualization in the computer of all parameters involved in the process.

Calibration of all sensors involved in the process.

Real time curves representation about system responses.

All the actuators’ values can be changed at any time from the keyboard allowing the analysis about curves and responses of the whole process.

Shield and filtered signals to avoid external interferences.

Real time computer control with flexibility of modifications from the computer keyboard of the parameters, at any moment during the process.

Real time computer control for parameters involved in the process simultaneously.

Open control allowing modifications, at any moment and in real time, of parameters involved in the process simultaneously.

Three safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3 DAB. Data Acquisition Board:

The Data Acquisition board is part of the SCADA system.

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input: Channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536. Sampling rate up to: 250 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=16 bits, 1 in 65536.

Digital Input/Output: Channels=24 inputs/outputs.

The Data Acquisition board model may change at any moment, providing the same or better features than those required for the unit.

4 MDUC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5 Cables and Accessories, for normal operation.

6 Manuals:

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

*	References 1 to 6 are the main items: MDUC + MDUC/CIB + DAB + MDUC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Assessment of the vibration state of a machine.

2.- Measuring the vibrations caused by unbalanced operation of rigid rotors in one and two planes.

3.- Study of the basic essentials of the vibration measurement in shafts and bearings.

4.- Study of the basic magnitudes and parameters.

5.- Use of measuring sensors and instruments.

6.- Understanding the influence of speed and shaft and recorder arrangements.

7.- Learning to balance rigid shafts in operation and alignment between motor and bearing.

8.- Understanding and interpreting the frequency spectra.

9.- Learning about the different vibration signals.

10.- Applying the FFT analysis correctly.

11.- Measuring the speed, oscillation travel, oscillation speed and acceleration.

12.- Learning about the effects of alignment on different types of couplings.

13.- Learning about the effects of speed on vibration behavior.

14.- Learning about the effects of the balanced and unbalanced elastic rotor (MDU-SES kit is required).

15.- Study of the variation of a typical vibration behavior (vibration velocity, frequency, amplitude, and phase) due to a fissure (MDU-SRS kit is required).

16.- Identifying cracks and fissures in shafts through acceleration curves and order analysis (MDU-SRS is required).

17.- Identifying a fissure through the variation of a vibration spectrum (MDU-SRS is required).

18.- Estimating the life cycle of a roller bearing (MDU-SRBF is required).

19.- Identifying faulty roller bearings (MDU-SRBF required).

20.- Checking the effects of roller bearing faults on outer and inner ring, or the roller bearing body on the vibration spectrum (MDU-SRBF is required).

21.- Understanding the effect of ring gear hardness on claw couplings (MDU-SCO is required).

22.- Comparing the curved tooth, bolt, flange or claw couplings (MDU-SCO is required).

23.- Understanding the importance of belt tension in vibration behavior (MDU-SBD is required).

24.- Checking the effect of the eccentricity in pulleys and the speed in vibration behavior (MDU-SBD is required).

25.- Comparison between defective and non-defective belts (MDU-SBD is required).

26.- Understanding and interpreting the frequency spectra in order to differentiate between defective and non-defective belts (MDU-SBD is required).

27.- Identifying defects in the gears according to their vibration behavior (MDU-SSDG is required).

28.- Learning about the effect of the toothed gear, the lubrication used and the wheelbase and the backlash (MDU-SSDG is required).

29.- Identifying wear on the rod and piston (MDU-SCM is required).

30.- Learning about the effect of bearing clearance and impacts (MDU-SCM is required).

31.- Study of the vibrations of a centrifugal pump in operation (MDU-SSCP is required).

32.- Understanding the cavitation phenomenon in a centrifugal pump (MDU-SSCP is required).

33.- Identifying vibrations caused by the movable vanes in the vibration spectrum (MDU-SSCP is required).

34.- Measuring the pitch frequency between movable vanes (MDU-SSCP is required).

35.- Measuring the blower vibrations (MDU-SSCP is required).

36.- Learning about the effect of an asymmetric air gap on the vibration behavior and the electromagnetic and performance losses (MDU-SEV is required).

37.- Learning about the effect of the electrical windings on vibration behavior (MDU-SEV is required).

Other possibilities to be done with this unit:

38.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

39.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

40.- The Computer Control System with SCADA allows a real industrial simulation.

41.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

42.- This unit can be used for doing applied research.

43.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

44.- Control of the MDUC unit process through the control interface box without the computer.

45.- Visualization of all the sensors values used in the MDUC unit process.

- By using PLC-PI additional 19 more exercises can be done.

- Several other exercises can be done and designed by the user.

Tender Specifications (for optional items)

a) Industrial configuration

7 PLC. Industrial Control using PLC (it includes PLC-PI Module plus PLC-SOF Control Software):

-PLC-PI. PLC Module:

Metallic box.

Circuit diagram in the module front panel.

Digital inputs (X) and Digital outputs (Y) block: 16 Digital inputs. 14 Digital outputs.

Analog inputs block: 16 Analog inputs.

Analog outputs block: 4 Analog outputs.

Touch screen.

Panasonic PLC:

High-speed scan of 0.32 µsec. Program capacity of 32 Ksteps. High-speed counter. Multi-point PID control.

Digital inputs/outputs and analog inputs/outputs Panasonic modules.

-MDUC/PLC-SOF. PLC Control Software:

For this particular unit, always included with PLC supply.

Practices to be done with PLC-PI:

1.-  Control of the particular unit process through the control interface box without the computer.

2.-  Visualization of all the sensors values used in the particular unit process.

3.-  Calibration of all sensors included in the particular unit process.

4.-  Hand on of all the actuators involved in the particular unit process.

5.-  Realization of different experiments, in automatic way, without having in front the particular unit. (These experiments can be decided previously).

6.- Simulation of outside actions, in the cases do not exist hardware elements. (Example: test of complementary tanks, complementary industrialenvironment to the process to be studied, etc).

7.-  PLC hardware general use.

8.-  PLC process application for the particular unit.

9.-  PLC structure.

10.-PLC inputs and outputs configuration.

11.-PLC configuration possibilities.

12.-PLC program languages.

13.-PLC different programming standard languages (ladder diagram (LD), structured text (ST), instructions list (IL), sequential function chart (SFC), function block diagram (FBD)).

14.-New configuration and development of new process.

15.-Hand on an established process.

16.-To visualize and see the results and to make comparisons with the particular unit process.

17.-Possibility of creating new process in relation with the particular unit.

18.-PLC Programming Exercises.

19.-Own PLC applications in accordance with teacher and student requirements.

b) Technical and Vocational Education configuration

8 MDUC/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

9 MDUC/FSS. Faults Simulation System.

Faults Simulation System (FSS) is a Software package that simulates several faults in any EDIBON Computer Controlled Unit.

The "FAULTS" mode consists in causing several faults in the unit normal operation. The student must find them and solve them.

There are several kinds of faults that can be grouped in the following sections:

Faults affecting the sensors measurement:

- An incorrect calibration is applied to them.

- Non-linearity.

Faults affecting the actuators:

- Actuators channels interchange at any time during the program execution.

- Response reduction of an actuator.

Faults in the controls execution:

- Inversion of the performance in ON/OFF controls.

- Reduction or increase of the calculated total response.

- The action of some controls is annulled.

On/off faults:

- Several on/off faults can be included.

c) Multipost Expansions options

10 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.