TENDER SPECIFICATIONS

Bench top unit with adjustable legs.

Anodized aluminum frame and panels made of painted steel.

Main metal elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The “MEER” unit mainly consists of:

Three-phase motor controlled by a variable – frequency drive to make the test shaft rotate to different frequencies:

Power: 0.5 kW.

Speed: 0 – 6000 rpm.

Three rotor shafts of different diameters:

Made of stainless steel.

Diameters: 3 mm, 6 mm, 7 mm.

Length: 950 mm.

Rotor disc with clamping mandrel to load the shaft in a concentrated point:

Made of stainless steel.

Diameter: 100 mm.

Weight: 1.2 kg.

Two supports with clamping mandrels. They allow the determination of the fixed supports for the shaft.

Two supports with self-aligning bearings. They allow the determination of the articulated supports for the shaft.

Different open-end wrenches, a wrench for the spindles and a wrench for the milling cutter cone are supplied with the unit to change and fix the different testing shafts and supports.

The unit includes all the safety measures required for a safe operation:

Safety supports with nylon bearings that prevent the shafts from oscillating with uncontrolled amplitude.

Support with clamping mandrel to prevent inadequate oscillations and damages in the unit.

Transparent protection cover to allow the visualization of the unit.

Limit actuator to prevent the operation of the unit without the protection cover.

Electronic console:

Metal box.

Motor connector.

Motor speed controller.

Digital display for the motor speed.

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unit: - Dimensions: 1600 x 500 x 600 mm approx. (62.99 x 19.68 x 23.62 inches approx.) - Weight: 60 Kg approx. (132.2 pounds approx.)

Electronic console: - Dimensions: 310 x 220 x 145 mm approx. (12.20 x 8.66 x 5.70 inches approx.) - Weight: 2 Kg approx. (4.4 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Visualization of different modes of oscillation in a shaft.

2.- Influence of the rotating speed of the shaft. Critical speed and operation speed.

3.- Speed of the modes of vibration of a rotor shaft in function of different distances between supports.

4.- Speed of the modes of vibration of a rotor shaft in function of different diameters of the shaft.

5.- Speed of the modes of vibration of a rotor shaft in function of different conditions in the ends.

6.- Study of a Laval rotor: critical speed and auto-centering.

7.- Critical speed of the shaft with concentrated load in function of the position of the mass.

Additional practical possibilities:

8.- Demonstration of basic whirling.

Optional

MEER/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.