TENDER SPECIFICATIONS

Bench-top unit with adjustable legs.

Anodized aluminum frame and panels in painted steel.

The MEM unit mainly consists of:

Stainless steel shaft on which the clutch discs rotate to produce torque.

Aluminum clutch discs with three different diameters to which the friction discs are attached:

Two clutch discs of Dext = 200 mm.

Clutch disc of Dext = 150 mm.

Clutch disc of Dext = 100 mm.

Interchangeable friction discs of different materials attached to the clutch discs:

Two friction discs of Dext = 200 mm and Dint = 160 mm.; μ = 0.38 and μ = 0.62.

Friction disc of Dext = 150 mm and Dint = 110 mm.; μ = 0.45.

Friction disc of Dext = 100 mm and Dint = 70 mm.; μ = 0.45.

Two anodized aluminum pressure discs for the production of friction of Dext = 200 mm and Dint = 16 mm.

Three springs which allow the increase of pressure in the system.

Three marked tightening nuts to regulate the pressure rise of the system uniformly.

Teflon ring, to perform the study with a single friction surface.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Required elements (No included):

- SET B. Brass Hook and Mass Set 2 kg.

Each SET B included:

6 weights of 200 g. (0.44 pounds)

6 weights of 100 g. (0.22 pounds)

2 weights of 50 g. (0.11 pounds)

2 weights of 20 g. (0.044 pounds)

2 weights of 10 g. (0.022 pounds)

1 support hook of 100 g. (0.22 pounds)

Dimensions: 600 x 700 x 1000 mm approx. (23.62 x 27.55 x 39.36 inches approx.). Weight: 15 Kg approx. (33 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the function of a plate clutch.

2.-  Analysis of the relationship between the contact force and the friction moment.

3.-  Determination of the coefficient of friction.

4.-  Study of the influence of the materials used in the friction moment.

5.-  Study of the influence of the radius of the friction surface at the friction moment.

6.-  Investigation of the relationship between pressure applied to friction surfaces, radius of friction surfaces and torque.

7.-  Comparison of torque based on the number of friction surfaces used.

8.-  Demonstration that the minimum torque to maintain rotation is proportional to the axial load and the diameter of the friction surface.

Optional

MEM/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

BDAS. Basic Data Acquisition System and Sensors:

For being used with mechanical modules.

BDAS is designed to monitor the measurements of each mechanical module from a computer.