EDIBON

Edition:ED01/25
Date:April/2025
MFCS1
UNIT FOR STUDYING FORCES IN DIFFERENT SINGLE PLANE TRUSSES

TENDER SPECIFICATIONS
Anodized aluminum frame and panels made of painted steel. 

The “MFCS1” unit mainly consists of: 

    Seven discs of nodes, two of them are used to fix the structure to the frame of the unit.

    Twenty bars made of stainless steel:

        Bar of 519.6 mm from node to node:

            Each bar is formed by a force sensor and two bars of 221.3 mm.

        Two bars of 424.3 mm from node to node:

            Each bar is formed by a force sensor and two bars of 173.65 mm.

        Two bars of 396.9 mm from node to node:

            Each bar is formed by a force sensor and two bars of 159.95 mm.

        Five bars of 300 mm from node to node:

            Each bar is formed by a force sensor and two bars of 111.5 mm.

        Five bars of 259.8 mm from node to node:

            Each bar is formed by a force sensor and two bars of 91.4 mm.

        Five bars of 150 mm from node to node:

            Each bar is formed by a load cell and two bars of 36.5 mm.

    The bars allow to form flat trusses of different angles.

    Each bar includes a force sensor up to 500 N with a graduation of 1 N.

    Maximum bar force: 500N.

    Load application device with a force sensor mountable on different node discs; range: -500 – 500 N, graduations: 10N.

    Electronic console:

        Metal box.

        Force sensor connectors.

        Force sensor selectors. 

        Digital display for the force sensors.

        Switch to tare the force measurements.

        Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Unit: Dimensions: 1000 x 500 x 1000 mm approx. (39.37 x 19.68 x 39.37 inches approx.). Weight: 25 Kg approx. (55.1 pounds approx.)
Electronic console: Dimensions: 300 x 190 x 130 mm approx. (11.81 x 7.48 x 5.11 inches approx.).Weight: 2.5 Kg approx. (5.51 pounds approx.)
EXERCISES AND PRACTICAL POSSIBILITIES
1.- Investigation of the forces in a single plane truss. 

2.- Measurement of bar forces in the different configurations of the single plane trusses using force sensors. 

3.- Study of the dependency on the external force in the different configurations of the single plane trusses with the direction of the force. 

4.- Study of the dependency on the external force in the different configurations of the single plane trusses with the magnitude of the force. 

5.- Study of the dependency on the external force in the different configurations of the single plane trusses with the application point of the force. 

6.- Calculation of bar forces in the different configurations of the single plane truss by the Ritter's method of sections. 

7.- Calculation of bar forces in the different configurations of the single plane truss by the method of joints. 

8.- Comparison of the experimental bar forces with the Ritter's method of sections and the method of joints in the different configurations of the single plane truss.
Optional
MFCS1/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.
- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features: 

• User Data Base Management. 

• Administration and assignment of Workgroup, Task and Training sessions. 

• Creation and Integration of Practical Exercises and Multimedia Resources. 

• Custom Design of Evaluation Methods. 

• Creation and assignment of Formulas & Equations. 

• Equation System Solver Engine. 

• Updatable Contents. 

• Report generation, User Progression Monitoring and Statistics.
- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features: 

• Student Log-In & Self-Registration. 

• Existing Tasks checking & Monitoring. 

• Default contents & scheduled tasks available to be used from the first session. 

• Practical Exercises accomplishment by following the Manual provided by EDIBON. 

• Evaluation Methods to prove your knowledge and progression. 

• Test self-correction. 

• Calculations computing and plotting. 

• Equation System Solver Engine. 

• User Monitoring Learning & Printable Reports. 

• Multimedia-Supported auxiliary resources.
BDAS. Data Acquisition System and Sensors:

For being used with mechanical units. 

BDAS is designed to monitor the measurements of each mechanical unit from a computer.
1

