TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The “MGI” unit mainly consists of:

Rotor disc, diameter: 80 mm.

Torque arm, length: 240 mm approx.

Counterweight with retaining screws to preselect the gyroscopic moment.

Two motors:

Rotating motor, speed range: 0 – 6000 rpm.

Precession motor, speed range: 0 – 60 rpm.

Both motors are electronically regulated and independently controlled. They can rotate clockwise or anticlockwise.

Transparent protective cover, made of PMMA, provides protection against the rotating parts and enables different experiments to be observed. This cover includes a safety switch, which allows automatically stops the two electrical motors if the cover is opened.

Bull’s eye level to level the unit..

Weights:

1 x 250 g, 1 x 200 g, 1 x 150 g, 1 x 100 g, 1 x 50 g.

Electronic console:

Metallic box.

Main on/off switch.

Motors connections.

ON/OFF switch for the rotating motor.

ON/OFF switch for the precession motor.

Rotating motor direction switch.

Precession motor direction switch.

Rotating motor speed controller.

Precession motor speed controller.

Digital display for the rotating motor speed.

Digital display for the precession motor speed.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manual.

Dimensions: Unit: 600 x 600 x 540 mm approx. (23.62 x 23.62 x 21.26 inches approx.). Weight: 20 Kg approx. (44 pounds approx.)

Electronic console: 300 x 190 x 130 mm approx. (11.81 x 7.48 x 5.12 inches approx.). Weight: 3 Kg approx. (6.6 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the laws of gyroscopes.

2.-  Demonstration of the precession and stability of a gyroscope system.

3.-  Investigation of gyroscopic couple direction for each combination of the rotor and the precession directions.

4.-  Study of the magnitude of gyroscope couple in function of the rotor velocity and the precession velocity.

5.-  Determination of the moment of inertia of the gyroscope rotor.

6.-  Demonstration of the independent influence of precession velocity with the gyroscope couple.

7.-  Demonstration of the independent influence of rotor velocity with the gyroscope couple.

Optional

MGI/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.