TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Handwheel and worm gear to generate the torsion load.

Maximum moment of torsion: 30 Nm.

Test specimens of different lengths and materials of 6 mm diameter:

4 steel specimens of L = 75 mm.

4 brass specimens of L = 75 mm.

4 aluminum specimens of L = 75 mm.

2 steel specimens of L = 175 mm.

2 steel specimens of L = 350 mm.

2 steel specimens of L = 700 mm.

Measuring device with self-compensation of deformation:

Strain gauges for measuring moment of torsion, range: 0 – 30 Nm.

Torsion angle sensor, range: 0 - ±3200°, resolution: 0.1°.

Transparent protective cover.

Software for data acquisition.

Electronic console:

Main switch.

Moment of torsion display.

Torsion angle display.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance& Practices Manuals.

-Dimensions: 1350 x 700 x 550 mm approx. (53.14 x 27.55 x 21.65 inches approx.) -Weight: 40 kg approx. (88 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Performance of torsion tests with different material specimens.

2.- Determination of the resistance to torsion.

3.- Study of the influence of the specimen material on the relationship between the moment and the angle of torsion.

4.- Study of the influence of the specimen length on the relationship between the moment and the angle of torsion.

5.- To determine experimentally the relationship between the torque moment and the angular deformation of the axis.

6.- To determine experimentally the relationship between the length of the test bar and the angle of rotation of the shaft for the same torsional load.

Optional

MTT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.