TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Two packed bed reactors (Anaerobic digesters) that may be operated in series or parallel flow arrangement:

Capacity: 5  l.

Heating jacket.

Reactor packing: 25 mm diameter BioBalls.

Two feed peristaltic pumps.

Water circulation pump of the thermostatic bath.

Thermostatic bath up to 60 °C.

Two volumetric tanks to measure and store the volume of gas generated.

Damping vessel, capacity: 1  l.

Two water flow meter; range: 0 – 50 cm³/min.

Five temperature sensors “J” type.

Electronic console:

Metallic box.

Temperature sensors connections.

Digital display for temperature sensors.

Selector for temperature sensors.

Pumps switches.

Thermostatic bath switch.

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unit: - Dimensions: 1000 x 800 x 1000 mm approx.(39.36 x 31.49 x 39.36 inches approx.) - Weight: 50 Kg approx. (110 pounds approx.)

Electronic console: - Dimensions: 300 x 230 x 135 mm approx. (11.81 x 9.05 x 5.31 inches approx.) - Weight: 2 Kg approx. (4.4 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Stabilization process study.

2.- Effect of temperature in the purification.

3.- Effect of the effluent pH in the digestion.

4.- Survey of the feeding rate in the purification.

5.- Study of the effluent strength.

6.- Study of the relation between the nutrient concentration in the effluent and purification.

7.- Study of the effect of the hidraulic charge in the purification.

8.- Study of the influence of the inhibitors to the anaerobic digestion.

9.- Comparison between mesophilic and termophilic anaerobic digestion.

10.- Determination of the optimal working temperature.

11.- Determination of the optimal feeding rate.

12.- Determination of the optimal solids/ water ratio.

13.- Determination of the optimal degradable/non-degradable.

14.- Demonstration of the multistage nature of anaerobic digestion.

15.- Kinematic determination.

16.- Carbon balance.

17.- Solids balance.

18.- Biogas balance.

19.- Study of the effect of pH.

20.- Influent nutrient concentration.

21.- Preparation, warming and acclimation of an anaerobic reactor.

22.- Effluent treatability studies, including solids, carbon and biogas balances for determining the purification (COD-BOD).

23.- Study of the effects on purification performance of:

Feed ratios.

Hydraulic loading.

Temperature.

Influent strength.

Nutrient deficiency.

Optional

PDAN/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.