TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Unit to study in the stirred tank mixing and gas exchange.

Open tank, capacity: 28  l.

Stirrer with variable speed control.

Agitators: they are the elements in charge of the agitation of the fluid, and they can be of different shapes and sizes:

Two blades agitators, diameters: 100 mm and 50 mm.

Two propeller agitators, diameters: 100 mm and 50 mm.

Two turbine agitators, diameters: 100 mm and 50 mm.

The propeller agitators are used for mixing with viscosity higher than 2000 cp.

Air pump.

Air flow meter, range: 0.4 – 5  l/min.

Three type of diffusers to sparge a gas: sparger tube, disk airstone and single airstone.

Oxygen meter, range: 0 – 50 mg/l. Oxygen probe length: 300 mm.

Temperature meter, to obtain the tank temperature, range: -19.9  – 149.9 °C (0.1 °C).

Control panel:

Lamp.

Automatic differential.

General switch.

Compressor switch.

Stirrer switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 600 x 700 x 850 mm approx. (23.62 x 27.55 x 33.46 inches approx.) - Weight: 50 Kg approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Determination of the aeration needs.

2.- Influence of the injected oxygen volume.

3.- Influence of the stirrer turning speed.

4.- Aeration with air injection and agitation.

5.- Influence of the temperature in the process.

6.- Influence of liquid level in the tank.

7.- Influence of the water composition.

Additional practical possibilities:

8.- Measurement of the absorption coefficient KS and oxygenation capacity R.

9.- Effects of oxygen transfer under non-steady state conditions.

Optional

PEAI/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.