Tender Specifications

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Two squared base recipients and two inner discs to support soil filled containers and plants.

Two hydraulic sensing devices located in the squared base recipients, connected to the graduated water columns.

Two graduated water columns (graduated manometric tubes), mounted on the front panel, above the lysimeters.

Two 300 mm approx. diameter containers. Each container can then in turn be placed on a hydraulically mounted plate which is used to monitor system weight changes arising for evapotranspiration.

Set of calibration weights (two of 2.5 Kg, one of 0.5 Kg, two of 200 g and two of 100 g).

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 800 x 600 x 1100 mm approx. (31.49 x 23.62 x 43.30 inches approx.).  Weight: 40 Kg approx. (88 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the evapotranspiration measurement by the water-balance method.

2.-  Study of a lysimeter operation.

3.-  Measurement of the evapotranspiration in a grass crop.

4.-  Study of the influence of the leaf size in the evapotranspiration.

5.-  Study of the influence of the evaporation in the evapotranspiration.

6.-  Determination of the plants water use.

7.-  Study and understanding of the relationship between reference maximum transpiration and actual transpiration.

Optional

PL/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.