TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Glass capillary tube.

Air pump with air regulator, range: 0 – 7  l/min.

Travelling optic system with accurate focus adjustment and mounted for vertical axis movement against a Vernier scale, Vernier range: 0 – 300 mm.

Thermostatically controlled water transparent - sided bath. Capacity: 36  l.

Heating resistance: 500 W (max. temperature 60 ºC).

Two temperature sensors, “J” type.

Level switch.

Electronic console:

Metallic box.

Water (water bath) temperature digital controller.

Heating resistance switch.

Blower switch.

Level switch connector.

Temperature sensors connectors.

Digital display for the sample temperature.

Heating resistance connector.

Pump connector.

Main switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 600 x 570 x 570 mm approx. (23.62 x 22.44 x 22.44 inches approx.). Weight: 30 Kg approx. (66 pounds approx.)

Electronic console:300 x 230 x 135 mm approx. (11.81 x 9.05 x 5.31 inches approx.). Weight: 2 Kg approx. (4.4 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Fick´s law application to calculate the diffusivity.

2.-  Direct measurement of mass transfer rates.

3.-  Determination of molar density transfer rate.

4.-  Study of the effect of temperature on diffusion coefficients.

5.-  Use of gas laws to calculate concentration differences in terms of partial pressures.

6.-  Graphic representation of the concentration profiles.

7.-  Gaining familiarity with the use of laboratory instruments to achieve measurements of data required for industrial process design.

Optional

QDTG/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.