TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Transparent tank for liquids (experimentation vessel), capacity: 2.5  l.

Magnetic stirrer and magnet, range: 0 – 300 rpm.

Conductivity meter and conductivity cell:

Conductivity

Range          Measurement            Resolution

200 µS          0.1 to 199.9 µS          0.1 µS

2 mS             0.2 to 1.999 mS         0.001 mS

20 mS           2 to 19.99 mS            0.01 mS

µS - micro Siemens; mS – milli Siemens.

Temperature

Measurement range: 0 ºC – 60 ºC.

Resolution= 0.1 ºC.

Accuracy= 0.8 ºC.

Diffusion cell:

Capillaries number (N) = 317.

Capillary length (x) = 5 mm.

Capillary diameter (D) = 1 mm.

Thermostatic bath:

Water vessel, capacity: 8  l.

Heating element, 500 W.

Level switch.

Temperature sensor “J type”.

Electronic console:

Metallic box.

Temperature sensor connection.

Level switch connection.

Heating resistance switch.

Stirrer switch.

Heating element temperature controller.

Main switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 500 x 370 x 500 mm approx. (19.68 x 14.56 x 19.68 inches approx.). Weight: 20 Kg approx. (44 pounds approx.).

Electronic console: 300 x 230 x 135 mm approx. (11.81 x 9.05 x 5.31 inches approx.). Weight: 2 Kg approx. (4.4 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Fick´s law application to calculate the diffusivity.

2.- Accurate measurement of mass transfer rates.

3.- Determination of the molar density rate.

4.- Effect of concentration on diffusion coefficients.

5.- Simple analysis of a first order unsteady state process.

6.- Concentration and conductivity relation.

7.- Study of the temperature effect on diffusion coefficients.

Optional

QDTL/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.