TENDER SPECIFICATIONS

QUS. Service Unit for QR:

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

This unit is common for the required elements (at least one) (Not included).

Accommodation and exchange system of the reactors, quick and easy to handle.

It supplies all the services for the operation of each reactor.

Safety, easy and quick connections.

All elements of this unit are chemically resistant.

The “QUS” unit mainly consists of:

Two peristaltic dosing pumps, with variable speed. Flow rate up to 3  l/h (unit standard disposition). With another disposition, they could reach a flow rate up to 10 l/h.

Thermostatic bath, capacity: 6  l. Temperature control of hot water in order to maintain the reactor temperature.

Pump of 3 l/min, to impel the thermostatization water from the bath to the reactor.

Two tanks for the reagents, capacity: 1 l each one, made of Pyrex glass.

The control of the reaction is carried out by a conductivity sensor, which allows the reaction evolution parameterization in real time.

Three “J” type temperature sensors, one to know the thermostatic bath temperature in a continuous way and two sensors to know the water temperature of the thermostatic bath water inlet and outlet.

Quick connectors with shutoff valve that enable an easy coupling of the Service Unit to the chosen reactor.

Electronic console:

Metallic box.

Temperature sensors connections.

Digital display for temperature sensors.

Selector for temperature sensors.

Peristaltic pumps controllers and switches.

Water pump switch.

Stirrer switches.

Heating element controller

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Required elements (at least one) (Not included):

QRCA. Continuous Stirred Tank Reactor for QR.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant.

Designed to demonstrate the  behaviour of a reactor used for homogeneous reactions liquid-liquid.

Reactor body made of borosilicate glass, with a maximum capacity of 2  l, specially designed to work in continuous. It also allows batch operation.

Adjustable volume, range: 0.4 – 1.5  l.

Stainless steel heat transfer coil (5 loops of 60 mm of diameter) and a baffle (removable).

Stirrer.

Reactor lip with connectors for the appropriate sensors.

Temperature sensor “J” type to control the temperature into the reactor.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit for QR, “QUS”.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

QRT. Tubular Flow Reactor for QR.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant.

Reactor composed by a continuous tube where the reagents are introduced through the coil end and  the products are obtained through the inverse end. Into it, a continuous reagent mix is produced, so  the composition will be different at each point. This type of reactors are industrially used for homogeneous reactions liquid-liquid, generally in isothermal conditions.

With this small scale reactor the behaviour of this type of reactors used at industrial level can be observed.

Tubular flow reactor, volume: 0.4  l. Coil shaped. Placed into an acrylic vessel through which the cooling or heating medium circulates. Coil length: 20 m.

Electric pre-heater of 12 loops, and loop diameter of 70 mm approx, for the two reagents feed lines. It is placed before the mix and the currents inlet to the reactor.

Temperature controlled by water jacketed.

Two temperature sensors “J” type to know the reagents outlet temperature from the pre-heater.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Reactor lip with connectors for the appropriate sensors.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit for QR, “QUS”.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

QRD. Batch Reactor for QR.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant.

Designed for the kinetic study of homogeneous reactions liquid-liquid, both in adiabatic conditions and in isothermal conditions.

The reactor body is an isolated vessel with a stainless steel external casing, working volume: 1 l.

Heat transfer coil made of stainless steel and reactor of 5 loops of 60 mm of diameter. The baffle tube internal diameter is of 6 mm and the external one is of 8 mm.

Stirrer.

Temperature sensor “J” type to control the temperature into the reactor.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Reactor lip with connectors for the appropriate sensors.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit for QR, “QUS”.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals..

QRS. Stirred Tank Reactors in Series for QR.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant.

These stirred reactors in series are used to increase the reagents conversion referred to an only reactor and so obtain product with higher purity.

Three continuous stirred tank reactors connected in series.

The three reactors have different height to let product from the first reactor  go to the second one and so on.

Reactors body made of pyrex glass, volume: 2 l.

Each reactor is fitted with a conductivity cell. Measurement range up to 20 mS.

Each reactor has a stirrer.

The two reagent vessels and the two variable speed dosing pumps (at the Service Unit for QR, “QUS”) feed reagents into the first reactor in line.

A dead-time residence coil can also be attached to the exit of the last reactor in the series.

Three temperature sensors “J” type, one in each reactor.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit for QR, “QUS”.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

QRL. Laminar Flow Reactor for QR.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant.

Designed to demonstrate the flow pattern characterisation and the steady state conversion in a tubular reactor.

Working volume: 400 ml.

Laminar flow reactor constituted by a glass column of 400 ml and 1000 mm long, including two diffusers packed with glass balls of 3 mm.

At the bottom of the column a premixer provides a complete mixing of the reagents entering the reactor and improves the flow distribution.

The reactor refrigeration jacket keeps its contents at a constant temperature to keep the laminar flow conditions.

Temperature sensor “J” type.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit for QR, “QUS”.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

QRP. Plug Flow Reactor for QR.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant.

Designed to demonstrate the flow pattern characterisation and the steady state conversion in a tubular reactor with axial dispersion.

Working volume: 1 l.

Plug reactor constituted by a glass column of 1 l and 1100 mm long, packed with 3 mm diameter glass balls.

At the bottom of the column a premixer provides a complete mixing of the reagents entering the reactor and improves the flow distribution.

The unit uses a six ways injection valve, which allows either the feeding of reagents in a continuous way or the possibility to carry out pulse and step changes to characterization of the flow pattern.

Temperature sensor “J” type.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit for QR, “QUS”.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

QUS. Service Unit for QR:

-Dimensions: 800 x 800 x 1000 mm approx. (31.49 x 31.49 x 39.37 inches approx.). Weight: 50 kg approx.  (110 pounds approx.)

QRCA. Unit:

-Dimensions: 330 x 330 x 500 mm approx. (12.99 x 12.99 x 19.68 inches approx.). Weight: 10 kg approx. (22 pounds approx.)

QRT. Unit:

-Dimensions: 330 x 350 x 500 mm approx. (12.99 x 13.78 x 19.68 inches approx.). Weight: 15 kg approx. (33 pounds approx.)

QRD. Unit:

-Dimensions: 330 x 330 x 500 mm approx. (12.99 x 12.99 x 19.68 inches approx.). Weight: 10 kg approx. (22 pounds approx.)

QRS. Unit:

-Dimensions: 950 x 450 x 600 mm approx. (37.40 x 17.71 x 23.62 inches approx.). Weight: 35 kg approx. (77 pounds approx.)

QRL. Unit:

-Dimensions: 330 x 330 x 1490 mm approx. (12.99 x 12.99 x 58.66 inches approx.). Weight: 25 kg approx. (55 pounds approx.)

QRP. Unit:

-Dimensions: 330 x 330 x 1350 mm approx. (12.99 x 12.99 x 53.15 inches approx.). Weight: 25 kg approx. (55 pounds approx.)

Electronic console:

-Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). Weight: 10 kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

Practices to be done with the Continuous Stirred Tank Reactor for QR (QRCA):

1.-  Determination of the ionic conductivities.

2.- Batch operation. Obtaining of the reaction order respect to ethylacetate. Initial velocity method.

3.- Batch operation. Obtaining of the reaction order respect to sodium hydroxide. Initial velocity method.

4.- Batch operation. Velocity Constant Computation. Constant sodium hydroxide initial concentration.

5.- Batch operation. Velocity Constant Computation. Constant ethylacetate initial concentration.

6.-  Velocity equation formulation.

7.-   Batch operation. Variation of the kinetic constant with temperature. Arrhenius Equation.

8.- Batch operation. Theoretical and experimental conversion comparative. Deviation from ideality.

9.-   Batch operation. Mixture effects.

10.- Continuous operation.

11.- Continuous operation. Mixture effects.

12.- Conductivity measurement system: conductimeter.

13.- Variation of conversion with residence time.

14.- Residence time distribution.

15.- Determination of the reaction rate constant.

Practices to be done with the Tubular Flow Reactor for QR (QRT):

16.- Analysis of reagents and products.

17.- Ionic conductivities determination.

18.- Theoretical conversion of the tubular reactor.

19.- Experimental determination of the conversion of the tubular reactor.

20.- Dependence of the residence time.

21.- Determination of the reaction order.

22.- Dependence of the speed constant and the conversion with the temperature.

23.- Conductivity measurement system: conductimeter.

24.- Complete emptying of the unit.

25.- Determination of the reaction rate constant.

Practices to be done with the Batch Reactor for QR (QRD):

26.-Determination of the ionic conductivities.

27.-Batch operation. Calculation of the order of the reaction referred to the ethyl-acetate. Initial velocity method.

28.-Batch operation. Determination of the order of the reaction referred to the sodium hydroxide. Initial velocity method.

29.-Batch operation. Determination of the speed constant, the initial concentration of the sodium hydroxide is constant.

30.-Batch operation. Determination of the speed constant, the initial concentration of the ethyl acetate is constant.

31.-Formulation of the speed equation.

32.-Batch operation. Variation of the kinetic constant when the temperature is not constant: Arrhenius equation.

33.-Batch operation. Comparison of the theoretical and the experimental conversion: Deviation from the ideality.

34.-Calculation of the heat transference coefficient of the coil.

35.-Calculation of the hydrolysis reaction enthalpy.

36.-Batch operation. Mixture effects.

37.-Conductivity measurement system: conductimeter.

Practices to be done with the Stirred Tank Reactors in Series for QR (QRS):

38.-Investigation of dynamic behaviour of stirred tank reactors in series.

39.-Determination of the ionic conductivities.

40.-Influence of flow rate.

41.-Work with just one reactor in continuous.

42.-Work with just one reactor in continuous with mixture effects.

43.-Work with three reactors in continuous.

44.-Effect of step input change.

48.-Response to an impulse change.

46.-Investigation of time constant using dead time coil.

Practices to be done with the Laminar Flow Reactor for QR (QRL):

47.-Determination of the residence time distribution of the reactor.

48.-Effect of flow rate and feed concentration on the determination of flow pattern.

49.-Steady state conversion for a reaction with laminar flow.

50.-Effect of flow rate and feed concentration on the steady state conversion.

51.-Demonstration of the flow pattern in the reactor and comparison with the theoretical model.

52.-Effect of the temperature on the laminar flow characterisation.

53.-Determination of the steady state conversion of a second order reaction.

54.-Flow pattern characterisation in a laminar flow reactor.

55.-Conductivity measurement system: conductimeter.

Practices to be done with the Plug Flow Reactor for QR (QRP):

56.-Determination of the residence time distribution of the reactor.

57.-Effect of flow rate and feed concentration on the determination of flow pattern.

58.-Study of the reactor response to different perturbations: step and pulse change.

59.-Effect of flow rate and feed concentration on the steady state conversion.

60.-Demonstration of the flow pattern in the reactor and comparison with the theoretical model.

61.-Determination of the steady state conversion of a second order reaction.

62.-Understanding the principles of tracer techniques in flow pattern characterisation.

63.-Conductivity measurement system: conductimeter.

- Several other exercises can be done and designed by the user.

Optional

QR/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.