TENDER SPECIFICATIONS

This unit is a Flow Injection Analysis system, which we will use to measure the conversion degree of the reaction of the saccharose hydrolysis in a continuous way.

This unit provides an easy method for measuring the saccharose concentration of the final product in continuous way without the need of the measuring it manually. The unit can also be useful for the teaching of the FIA technique and the demonstration of the advantages of this measuring method in continuous processes.

It consists of a peristaltic pump with four channels that is used to impulse the right quantities of the final product together with reagents that colour it. Then the solution are put through coil reactor in order to complete the mixture. The last stage of the “QRCB-IF” unit involves passing the reaction through the spectrophotometer measuring cell.

Specifications:

Four channels peristaltic pump, 0.01 – 35 ml/min for each channel.

Six ports injection valve.

Coil reactor.

Continuous measuring cell for spectrophotometer.

Dimensions: 500 x 500 x 350 mm approx. (19.68 x 19.68 x 13.77 inches approx.). Weight: 15 Kg approx. (33 pound approx.)

Required elements (Not included):

- QRCB. Catalytic Reactors.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Two glass flacks of for the initial solution and the final product, capacity: 2 l.

Reactors:

Two fixed-bed reactors for chemical catalysis, composed by acid ion exchange resins.

Fixed-bed reactor for biological (enzymic) catalysis. (Recommended use with an immobilized enzyme).

Reactors diameter: 50 mm.

Reactors height: 160 mm.

Material: glass, with a methacrylate cover for protection.

Thermostatic bath, with heating resistance of 600 W.

Heated water supply to the reactors jackets that allows the automatic control of reaction temperature to a set point value.

Peristaltic pump, with speed regulation, that allows to regulate the feed flow, range: 0 – 32 ml/min.

Four temperature sensors, “J“ type, placed at key points of the system.

Spectrophotometer, for the final product analysis and absorbance measures:

Wavelength range: 325 – 1000 nm.

Band width: 5 nm.

All electrical circuits are protected by adequate protection devices.

Electronic console:

Metallic box.

Connections for the temperature sensors.

Digital display for the temperature sensors.

Selector for the temperature sensors.

Heating resistance controller.

Digital display for feeding flow.

Pump switch.

Pump regulator (potentiometer).

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the “FIA” Flow Injection Analysis technique and principles (the additional recommended element “QRCB-IF” is required).

2.-	Examination of the reproducibility and sensitivity of the “FIA” analysis method as a function of the flow rate and sample concentration (the additional recommended element “QRCB-IF” is required).

- Several other exercises can be done and designed by the user.