EDIBON

Edition:ED01/25 
Date:April/2025
QRCC-IF
COMPUTER CONTROLLED FLOW INJECTION ANALYSIS (FIA) UNIT

TENDER SPECIFICATIONS
The Computer Controlled Flow Injection Analyzer (FIA), “QRCC-IF”, is an additional element recommended to work with the “QRCC” unit, which allows continuous measurement of the degree of conversion in the sucrose hydrolysis reaction. It facilitates on-line analysis of sucrose concentration in the final product, eliminating the need for manual measurements and improving the efficiency of the experimental work. 

The Computer Controlled Flow Injection Analysis Kit (FIA) “QRCC-IF” is especially useful to evaluate the Flow Injection Analysis (FIA) technique and to demonstrate the advantages of this method in continuous processes: fast, accurate and automated measurement, without the need to stop the main operation of the “QRCC”. 

The unit is composed of:

Computer-controlled 4-channel peristaltic pump, with a working range of 0.01 to 35 ml/min per channel, which simultaneously drives the final product and the reagents necessary for the analysis.

6-way injection valve, which allows the precise introduction of the sample volume to be analyzed.

Helical reactor, where the mixing between the sample and the colorimetric reagents is completed.

Continuous measuring cell, connected to the spectrophotometer of the “QRCC” unit, where the absorbance reading of the resulting mixture is carried out.
Dimensions: 500 x 500 x 350 mm approx. (19.68 x 19.68 x 13.77 inches approx.). Weight: 15 Kg. approx. (33 pound approx.) 
Required elements (Not included):
- QRCC. Computer Controlled Fixed-Bed Catalytic Reactors for Sucrose Hydrolysis.
Bench-top unit. 

Anodized aluminum frame and panels made of painted steel. 

Main metallic elements made of stainless steel. 

Diagram in the front panel with distribution of the elements similar to the real one. 

Two glass flacks for the initial solution and the final product, capacity: 2 l. 

Reactors: 

    Two fixed-bed reactors for chemical catalysis, composed by acid ion exchange resins. 

    Fixed-bed reactor for biological (enzymic) catalysis. (Recommended use with an immobilized enzyme). 

    Reactors diameter: 50 mm. Reactors height: 160 mm.  

    Material: glass, with a methacrylate cover for protection. 

Thermostatic bath, with heating resistance of 600 W, controlled by a PID from the computer. 

Heated water supply to the reactors jackets that allows the automatic control of reaction temperature to a set point value. 

Peristaltic pump, with speed regulation, computer controlled, that allows to regulate the feed flow, range: 0 – 32 ml/min. 

Five temperature sensors, “J” type, placed at key points of the system. 

Spectrophotometer, computer controlled, for the final product analysis and absorbance measures: 

    Wavelength range: 325 – 1000 nm. Band width: 5 nm. 

All electrical circuits are protected by adequate protection devices. 

The complete unit includes as well:
Advanced Real-Time SCADA and PID Control.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.
EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS
1.- Study of the “FIA” Flow Injection Analysis technique and principles (the additonal recommended element QRCC-IF is required). 

2.- Examination of the reproducibility and sensitivity of the “FIA” analysis method as a function of the flow rate and sample concentration (the additonal recommended element QRCC-IF is required). 
1

