EDIBON

Edition:ED02/25
Date:November/2025
QRP
PLUG FLOW REACTOR FOR QR

TENDER SPECIFICATIONS
Anodized aluminum frame and panels made of painted steel. 

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant. 

Designed to demonstrate the flow pattern characterisation and the steady state conversion in a tubular reactor with axial dispersion. 

Working volume: 1 l.

Plug reactor constituted by a glass column of 1 l and 1100 mm long, packed with 3 mm diameter glass balls.

At the bottom of the column a premixer provides a complete mixing of the reagents entering the reactor and improves the flow distribution.

The unit uses a six ways injection valve, which allows either the feeding of reagents in a continuous way or the possibility to carry out pulse and step changes to characterization of the flow pattern.

Temperature sensor “J” type.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Base and Service Unit for QR, “QUS”.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 330 x 330 x 1350 mm approx. (12.99 x 12.99 x 53.15 inches approx.). Weight: 25 kg approx. (55 pounds approx.)
Required elements (Not included):

QUS. Base and Service Unit for QR.

Bench-top unit. 

Anodized aluminum frame and panels made of painted steel. 

Main metallic elements made of stainless steel. 

Diagram in the front panel with distribution of the elements similar to the real one.

This unit is common for the required elements (at least one) (Not included).

Accommodation and exchange system of the reactors, quick and easy to handle.

It supplies all the services for the operation of each reactor.

Safety, easy and quick connections.

All elements of this unit are chemically resistant.

The “QUS” unit mainly consists of: 

    Two peristaltic dosing pumps, with variable speed. Flow rate up to 3  l/h (unit standard disposition). With another disposition, they could reach a flow rate up to 10  l/h.

    Thermostatic bath, capacity: 6  l. Temperature control of hot water in order to maintain the reactor temperature.

    Pump of 3  l/min, to impel the thermostatization water from the bath to the reactor.

    Two tanks for the reagents, capacity: 1 l each one, made of Pyrex glass.

    The control of the reaction is carried out by a conductivity sensor, which allows the reaction evolution parameterization in real time.

    Three “J” type temperature sensors, one to know the thermostatic bath temperature in a continuous way and two sensors to know the water temperature of the thermostatic bath water inlet and outlet.

    Quick connectors with shutoff valve that enable an easy coupling of the Service Unit to the chosen reactor.

Electronic console:

    Metallic box.

    Temperature sensors connections.

    Digital display for temperature sensors.

    Selector for temperature sensors.

    Peristaltic pumps controllers and switches. 

    Water pump switch.

    Stirrer switches.

    Heating element controller.

    Main switch.

EXERCISES AND PRACTICAL POSSIBILITIES
1.-Calibration of the reagents flows.

2.-Theoretical conversion of a plug flow reactor.

3.-Obtention of the concentration change of sodium hydroxide during the reaction and its conversion.

4.-Determination of the residence time distribution curve (RTD) in a plug reactor.

5.-Study the influence of the residence time in the conversion of the reaction.

6.-Determination of the order of reaction and the speed constant.

7.-Study of the reactor response to different perturbations at the reactor inlet: pulse and step change.
Additional practical possibilities:
8.-Determination of the residence time distribution of the reactor.

9.-Effect of flow rate and feed concentration on the determination of flow pattern.

10.-Effect of flow rate and feed concentration on the steady state conversion.

11.-Demonstration of the flow pattern in the reactor and comparison with the theoretical model.

12.-Determination of the steady state conversion of a second order reaction.

13.-Understanding the principles of tracer techniques in flow pattern characterisation.

15.-Conductivity measurement system: conductimeter.

Optional
QRP/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features: 

• User Data Base Management. 

• Administration and assignment of Workgroup, Task and Training sessions. 

• Creation and Integration of Practical Exercises and Multimedia Resources. 

• Custom Design of Evaluation Methods. 

• Creation and assignment of Formulas & Equations. 

• Equation System Solver Engine. 

• Updatable Contents. 

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features: 

• Student Log-In & Self-Registration. 

• Existing Tasks checking & Monitoring. 

• Default contents & scheduled tasks available to be used from the first session. 

• Practical Exercises accomplishment by following the Manual provided by EDIBON. 

• Evaluation Methods to prove your knowledge and progression. 

• Test self-correction. 

• Calculations computing and plotting. 

• Equation System Solver Engine. 

• User Monitoring Learning & Printable Reports. 

• Multimedia-Supported auxiliary resources.
2

