TENDER SPECIFICATIONS

Metallic box, including all modules and elements.

Power supply.

Protection fuse.

Block diagrams in the front panel.

Modules:

Reference signals:

Step: Amplitude: ±10 V. Frequency: 0 Hz to 1000 Hz.

Ramp: Amplitude: ±10 V. Frequency: 0 Hz to 1000 Hz.

Sine: Amplitude: ±10 V. Frequency: 0 Hz to 1000 Hz.

PID controller:

P controller: Kp: 0 to 10.

I controller: Ti: 1 ms to 10 ms.

D controller: Td: 1 ms to 10 ms.

Systems:

First order system:

Time constant : 1ms to 100 ms.

Second order system:

Damping coefficient  0 to 1.5.

Natural frequency ( n): 1 Hz to 2 *100 rad/s (100 Hz).

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 490 x 330 x 310 mm approx. - Weight: 10 Kg approx.

Required elements (Not included):

- MED87. Two Channel Digital Oscilloscope 70 MHz.

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Response of a first order system in time domain (step-response).

2.-  Response of a first order system in time domain (ramp-response).

3.-  Response of a first order system in time domain (sinusoidal-response).

4.-  Response of a first order system in frequency domain (sinusoidal-response).

5.-  Response of a second order system in time domain (step-response).

6.-  Response of a second order system in time domain (ramp-response).

7.-  Response of a second order system in time domain (sinusoidalresponse).

8.-  Response of a second order system in frequency domain (sinusoidal-response).

9.-  Structure of a PID controller (proportional-integrative-derivative blocks).

10.- PID control of a first order system in open-loop.

11.- PID control of a second order system in open-loop.

12.- PID control of a first order system in closed-loop (mathematical tuning).

13.- PID control of a first order system in closed-loop (experimental tuning)

14.- PID control of a first order system in closed-loop (Ziegler-Nichols tuning).

15.- PID control of a second order system in closed-loop (mathematical tuning).

16.- PID control of a second order system in closed-loop (experimental tuning).

17.- PID control of a second order system in closed-loop (Ziegler-Nichols tuning).

Optional

RYC/B/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.