TENDER SPECIFICATIONS

1 SERIN/CC. Unit:

The "SERIN/CC" unit consists on a control interface box and a direct current motor and encoder module.

The control interface box has a 4-quadrants servo amplifier for DC motors that controls the motor speed, position and current of the motor. In order to do this control the feedback is done thanks to an encoder.

The RS-232 communication between the control interface box and the computer provides the possibility of commanding the motor from the computer and to visualize the most important signals of the motor.

The 4-quadrant servo amplifier controls the motor operation and the braking operation in both rotation directions clockwise and counterclockwise.

Velocity, position and torque control.

It allows predefined moves and programming.

Control interface box:

Front panel:

Six user programmable digital inputs with the following functions:

Negative limit switch.

Positive limit switch.

Home switch.

Position marker.

Drive enable.

Quick stop.

General A – H.

Each input is controlled by a switch.

Four user-programmable digital outputs with the following functions:

Ready/Fault.

Position compare.

Holding brake.

General A – H.

Each output is connected to an LED.

Two analogue inputs with voltages in a range of 0 – 5 V.

Two potentiometers to adjust the values of the analogue inputs (0 – 5 VDC). These potentiometers are enabled by a switch placed next to them.

Two analog inputs with voltages in the range of 0 – 5 V.

Two potentiometers to select the value of the analog inputs (0 – 5 VDC), these potentiometers are enabled by a commuting switch placed next to them.

Ignition switch. When the unit is on, the red LED is active and lighting.

Back panel:

Voltage supply. There is a voltage supply that feeds the unit with 220 V of alternating current.

Motor power supply. It is a 24 VDC motor power supply (it is a three wires connection motor +, motor - ,and one taking to earth).

Connection port in series. It is a connection plug to connect the Control Interface with the PC by the RS-232 port, in order to allow the software to manage the motor.

Connection with the Feedback. It is a connection with the motor Feedback. It allows the encoder to manage the motor.

Direct Current Motor and Encoder Module:

DC Motor, 90 W. Position, speed and current are controlled by the Control Interface.

Digital encoder, 500 pulses per revolution, with RS-232 communication port.

Two power supply wires (one for the motor and other for the Control Interface).

Two communication RS-232 wires (one from the Control Interface to the computer and other from the Control Interface to the encoder).

2 SERIN/CC/CCSOF. Computer Control + Data Acquisition + Data Management Software:

Compatible with actual Windows operating systems. Graphic and intuitive simulation of the process in screen. Compatible with the industry standards.

Registration and visualization of all process variables in an automatic and simultaneously way.

Flexible open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Comparative analysis of the obtained data, after to the process and modification of the conditions during the process.

3 Cables and Accessories, for normal operation.

4 Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Control Interface Box:  490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). Weight: 40 Kg approx. (88 pounds approx.)

Direct Current Motor + Encoder Module: 300 x 300 x 120 mm approx. (11.81 x 11.81 x 4.72 inches approx.) Weight: 5 Kg approx. (11 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Autotuning.

2.- Manual tuning of the position regulator.

3.- Motion commands in MPBUS RS-232 mode.

4.- Signals graph, transient analysis.

5.- Batch commands.

6.- User´s parameters, position value, velocity value, acceleration value.

7.- Digital inputs and outputs in I/O mode.

8.- Load and braking simulation.

9.- Searching reference.

10.-Input/Output functions.

11.-State commands and exception.

12.-Velocity, position and torque control.

Optional

SERIN/CC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.