TENDER SPECIFICATIONS

The “SWP” application includes the following elements:

• N-ALI02. Domestic Main Power Supply Module.

Supply voltage (single-phase): 230 VAC, 1PH + N.

ON/OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-shase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25 A, 30 mA AC, 6 KA.

Emergency stop push-button.

• N-PLOC. Pumping Local Control Module.

Power source input terminals.

Measurement connectors.

DC/DC converter.

Output terminals.

Remote control LED indicator.

Maximum level LED indicator.

Minimum level LED indicator.

Local control switches.

Flow meter signal connectors.

Connectors for variable control (communication signal ports).

ON/OFF switch.

Supply voltage of the module: 230 VAC.

Nominal operating voltage with the pump controller: 36 V.

DC working voltage range (without pump regulator): 24 – 36 V.

Peak input power with regulator: 175 W.

Maximum motor output power: 160 W.

5 A fuses.

• N-DCPWS-36V/150W. 36 VDC, 150 W Power Supply Module.

LED indicator.

DC output terminals.

Auxiliary outlet sockets.

5 A fuse.

ON/OFF switch.

Output voltage: 36 VDC.

Power: 150 W.

• MED65. Digital Multimeter (2 units).

This module has a 3 ½ digit digital multimeter, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we can measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• PTWM. Pumping Unit with Two Water Tanks and Manual Control of Manometric Height.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Pumping tank: 25 l (approx.)

Accumulation tank: 75 l (approx.)

Pressure pump.

Pump voltage: 24 – 36 V.

Maximum pumping intensity: 4 A.

Manual valve (V-2).

Maximum tank level sensor (SN-1).

Minimum well level sensor (SN-2).

Manometer of the pipeline (M-1).

Analogue flow meter.

Drain valve (V-1).

Pipes and piping.

Multimeter.

AC power cables.

Additional recommended elements (Not included):

• PV-KIT-300W. 300 W Photovoltaic Kit with Regulator and Measurement Instrumentation.

• LP6. 6 Lamps Panel with Dimming.

Power: 6 x 500 W.

Aluminium frame.

• N-REG-AC/LR. AC Local/Remote Current Regulator Module.

16 A fuse.

Switch for control modes: Local or SCADA.

ENABLE/DISABLE switch.

Potentiometer for manual intensity control.

Current signal control connector.

ON/OFF switch.

Power connector.

Module supply voltage: 230 VAC.

Working intensity range: 0 – 6.5 A.

Maximum motor output power: 1500 W.

• N-MED16. DC Voltmeter Module (0-50 V).

Analogue voltmeter.

Connection terminals.

Voltage range: 0 – 50 V.

• N-MED81. DC Ammeter Module (0-30 A).

Analogue ammeter.

Connection terminals.

Intensity range: 0 – 30 A.

• PV-24/300W. Photovoltaic Panel, 24 VDC, 300 W.

Number of cells: 6 x 12.

Maximum power: 335 W.

Voltage at maximum power: 38.2 V.

Current at maximum power: 8.77 A.

Short circuit current (Isc): 9.38 A.

Open circuit voltage (Voc): 46.1 V.

Module efficiency: 17.2 %.

• BAT2. AGM Battery, 25 Ah, 12 V (2 units).

Nominal voltage: 12 VDC.

• N-REG03. MPPT Regulator Module.

MPPT regulator.

ON/OFF switch.

Output terminals: 12/24 VDC.

Battery terminals: 12/24 VDC.

Module power supply: 230 VAC.

Nominal discharge current: 20 A.

Acceptable DC voltage range: 12 – 50 V.

16 A fuses.

Monitoring of parameters:

Voltage.

Current.

Charge level of the battery.

Charging current.

State.

Devices with self-protection, battery and loads.

• WT-KIT-400W. 400 W Wind Turbine Kit with Regulator and Measurement Instrumentation.

• WT-24V/400W. Permanent Magnets Wind Turbine 24 V, 400 W.

Wind turbine.

Power: 400 W.

Voltage: 24 VDC.

• N-REG-24V/400W. Wind Turbine Regulator Module 24 V, 400 W.

16 A fuses.

Wind turbine controller.

Three-phase input terminals.

ON/OFF switch.

Output voltage: 24 – 36 VDC.

Battery voltage: 24 VDC.

DC output terminals.

• N-TPAD-3PH/400V. 400 V Three-Phase AC/DC Converter Module.

16 A fuses.

Three-phase input terminals.

ON/OFF switch.

Auxiliary ON/OFF switch.

DC output terminals.

Input voltage range: 0 – 400 VAC.

Output voltage range: 0 – 400 VDC.

• N-MED16. DC Voltmeter Module (0-50 V).

Analogue voltmeter.

Connection terminals.

Voltage range: 0 – 50 V.

• N-MED81. DC Ammeter Module (0-30 A).

Analogue ammeter.

Connection terminals.

Intensity range: 0 – 30 A.

• BAT2. AGM Battery, 25 Ah, 12 V (2 units).

Nominal voltage: 12 VDC.

• N-SERV400W. 400 W Servomotor Controller Module.

Servomotor SERV01.

Error LED indicator.

5 A fuse.

USB connector.

Encoder connector.

Power connector.

Speed control connector.

Switch for control modes: Local or SCADA.

ON/OFF switch.

Potentiometer for manual speed control.

Module supply voltage: 230 VAC.

Control speed: 0 – 3000 rpm.

Specific frequency: 250 Hz.

Operating intensity: 1.5 A.

Operating voltage: 101 VAC.

• All necessary cables to realize the practical exercises are included.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

PTWM: - Dimensions: 1000 x 520 x 960 mm approx. (39.36 x 20.47 x 37.79 inches approx.). - Weight: 70 Kg approx. (154 pounds approx.).

PV-KIT-300W: - Dimensions: 2040 x 580 x 1250  mm approx. (80.31 x 22.83 x 49.21 inches approx.). - Weight: 40 Kg approx. (88 pounds approx.).

WT-KIT-400W: - Dimensions: 1500 x 580 x 1250 mm approx.  (59.05 x 22.83 x 49.21 inches approx.). - Weigth: 50 kg approx.  (110 pounds approx.).

LP-3/C: - Dimensions: 1310 x 410 x 850  mm approx. (51.57 x 16.14 x 33.46 inches approx.). - Weight: 10 Kg approx. (22 pounds approx.).

BAT2: - Dimensions: 610 x 370 x 340 mm approx. (24.01 x 14.56 x 13.38 inches approx.). - Weight: 30 Kg approx. (66 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Starting and stopping the pumping system.

2.- Automatic stop in maximum and minimum level conditions.

3.- Commissioning of the solar pumping system without batteries (requires the PV-KIT-300W).

4.- Commissioning of the solar pumping system with batteries (requires PV-KIT-300W).

5.- Study of the working regime of the pumping regulator: shadow effect. (requires the PV-KIT-300W).

6.- Commissioning of the wind pumping system without batteries (requires the WT-KIT-400W).

7.- Commissioning of the wind pumping system with batteries (requires WT-KIT-400W).

8.- Study of the working regime of the pumping regulator: variations of pumped flow (requires the PV-KIT-300W or WT-KIT-400W).

9.- Starting thresholds with and without converter (requires the PV-KIT-300W or the WT-KIT-400W).

10.-Study of the working regime of the pumping regulator: adjustment and reduction of the voltage (requires the PV-KIT-300W or the WT-KIT-400W).

Additional practical possibilities:

11.- Voltage/current measurement at the input and output of the solar regulator.

12.- Comparison of the input and output V/I parameters of the solar regulator and calculation of performance.

13.- Study of the water pump behaviour with and without solar regulator.

14.- Calculation of the power consumption of the pump with and without regulator.

15.- Experimental measurement of the optimal functioning of the pump by means of the use of the flow meter.

- Several other exercises can be done and designed by the user.

Optional

SWP/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.