TENDER SPECIFICATIONS (for main items)

1 SWPC. Unit:

• N-ALI02. Domestic Main Power Supply Module.

Supply voltage (single-phase): 230 VAC, 1PH + N.

ON/OFF removable key.

Output voltage connections:

Two single-phase: 230 VAC.

Single-shase supply hose connecting plug.

Differential magnetothermal, 2 poles, 25 A, 30 mA AC, 6 KA.

Emergency stop push-button.

• N-PRC. Pumping Local Control Module.

Power source input terminals.

Measurement connectors.

Internal meters: voltmeter and ammeter.

DC/DC converter.

Output terminals.

Remote control LED indicator.

Maximum level LED indicator.

Minimum level LED indicator.

Switch for control modes: Local or SCADA.

Local control switches.

Flow meter signal connectors.

Pressure signal connectors.

Connectors for variable control (communication signal ports).

ON/OFF switch.

Supply voltage of the module: 230 VAC.

Nominal operating voltage with the pump controller: 36 V.

DC working voltage range (without pump regulator): 24 – 36 V.

Peak input power with regulator: 175 W.

Maximum motor output power: 160 W.

5 A fuses.

• N-DCPWS-36V/150W. 36 VDC, 150 W Power Supply Module.

LED indicator.

DC output terminals.

Auxiliary outlet sockets.

5 A fuse.

ON/OFF switch.

Output voltage: 36 VDC.

Power: 150 W.

• MED65. Digital Multimeter.

This module has a 3 ½ digit digital multimeter, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we can measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• PTWT. Pumping Unit with Two Water Tanks.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with similar distribution to that of the elements in the real unit.

Pumping tank: 25 l (approx.)

Accumulation tank: 75 l (approx.)

Pressure pump.

Pump voltage: 24 – 36 V.

Maximum pumping current: 4 A.

Proportional valve (AVP-1).

Maximum tank level sensor (SN-1).

Minimum well level sensor (SN-2).

Tank pressure sensor (SP-1).

Well pressure sensor (SP-2).

Pressure sensor of the pipeline.

Digital flow meter (SC-1).

Analogue flow meter.

Drain valve (V-1).

Pipes and piping.

Multimeter.

LabVIEW interface for data acquisition.

AC power cables.

Additional recommended elements (Not included):

• PV-KIT-300W. 300W Photovoltaic Kit with Regulator and Measurement Instrumentation.

• LP6. 6 Lamps Panel with Dimming.

Power: 6 x 500 W.

Aluminium frame.

• N-REG-AC/LR. AC Local/Remote Current Regulator Module.

16 A fuse.

Switch for control modes: Local or SCADA.

ENABLE/DISABLE switch.

Potentiometer for manual intensity control.

Current signal control connector.

ON/OFF switch.

Power connector.

Module supply voltage: 230 VAC.

Working intensity range: 0 – 6.5 A.

Maximum motor output power: 1500 W.

• N-MED16. DC Voltmeter Module (0-50 V).

Analogue voltmeter.

Connection terminals.

Voltage range: 0 – 50 V.

• N-MED81. DC Ammeter Module (0-30 A).

Analogue ammeter.

Connection terminals.

Intensity range: 0 – 30 A.

• PV-24/300W. Photovoltaic Panel, 24 VDC, 300 W.

Number of cells: 6 x 12.

Maximum power: 335 W.

Voltage at maximum power: 38.2 V.

Current at maximum power: 8.77 A.

Short circuit current (Isc): 9.38 A.

Open circuit voltage (Voc): 46.1 V.

Module efficiency: 17.2 %.

• BAT2. AGM Battery, 25 Ah, 12 V (2 units).

Nominal voltage: 12 VDC.

• N-REG03. MPPT Regulator Module.

MPPT regulator.

ON/OFF switch.

Output terminals: 12/24 VDC.

Battery terminals: 12/24 VDC.

Module power supply: 230 VAC.

Nominal discharge current: 20 A.

Acceptable DC voltage range: 12 – 50 V.

16 A fuses.

Monitoring of parameters:

Voltage.

Current.

Charge level of the battery.

Charging current.

State.

Devices with self-protection, battery and loads.

• WT-KIT-400W. 400 W Wind Turbine Kit with Regulator and Measurement Instrumentation.

• WT-24V/400W. Permanent Magnets Wind Turbine 24 V, 400 W.

Wind turbine.

Power: 400 W.

Voltage: 24 VDC.

• N-REG-24V/400W. Wind Turbine Regulator Module 24 V, 400 W.

16 A fuses.

Wind turbine controller.

Three-phase input terminals.

ON/OFF switch.

Output voltage: 24 – 36 VDC.

Battery voltage: 24 VDC.

DC output terminals.

• N-TPAD-3PH/400V. 400 V Three-Phase AC/DC Converter Module.

16 A fuses.

Three-phase input terminals.

ON/OFF switch.

Auxiliary ON/OFF switch.

DC output terminals.

Input voltage range: 0 – 400 VAC.

Output voltage range: 0 – 400 VDC.

• N-MED16. DC Voltmeter Module (0-50 V).

Analogue voltmeter.

Connection terminals.

Voltage range: 0 – 50 V.

• N-MED81. DC Ammeter Module (0-30 A).

Analogue ammeter.

Connection terminals.

Intensity range: 0 – 30 A.

• BAT2. AGM Battery, 25 Ah, 12 V (2 units).

Nominal voltage: 12 VDC.

• N-SERV400W. 400 W Servomotor Controller Module.

Servomotor SERV01.

Error LED indicator.

5 A fuse.

USB connector.

Encoder connector.

Power connector.

Speed control connector.

Switch for control modes: Local or SCADA.

ON/OFF switch.

Potentiometer for manual speed control.

Module supply voltage: 230 VAC.

Control speed: 0 – 3000 rpm.

Specific frequency: 250 Hz.

Operating intensity: 1.5 A.

Operating voltage: 101 VAC.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (20 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 DAB. Data Acquisition Board:

The Data Acquisition board is part of the SCADA system.

USB Data acquisition board (National Instruments).

Analog input: Channels= 8 single-ended or 8 differential. Resolution=14 bits, 1 in 16384. Sampling rate up to: 20 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=14 bits, 1 in 16384.

Digital Input/Output: Channels=13 inputs/outputs.

The Data Acquisition board model may change at any moment, providing the same or better features than those required for the unit.

3 SWPC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 20 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

4 Cables and Accessories, for normal operation.

5 Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*	References 1 to 5 are the main items: SWPC + DAB + SWPC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

- Local Control.

1.- Starting and stopping the pumping system.

2.- Automatic stop in maximum and minimum level conditions.

3.- Study of the working regime of the pumping regulator: adjustment and reduction of voltage.

4.- Commissioning of the solar battery pumping system (requires the PV-KIT-300W).

5.- Commissioning of the solar pumping system without batteries (requires the PV-KIT-300W).

6.- Study of the working regime of the pumping regulator: shadow effect (requires the PV-KIT-300W).

7.- Study of the working regime of the pumping regulator: variations of pumped flow (requires the PV-KIT-300W).

8.- Starting thresholds with and without converter (requires the PV-KIT-300W).

9.- Commissioning of the battery-powered wind pumping system (requires the WT-KIT-400W).

10.- Commissioning of the wind power pumping system without batteries (requires the WT-KIT-400W).

- SCADA Control.

11.- Starting and stopping the pumping system.

12.- Automatic stop in maximum and minimum level conditions.

13.- Study of the working regime of the pumping regulator: adjustment and reduction of voltage.

14.- Manometric height concept: manual adjustment of the proportional valve.

15.- Energy flow analysis: overall system performance.

16.- Commissioning of the solar battery pumping system (requires the PV-KIT-300W).

17.- Commissioning of the solar pumping system without batteries (requires the PV-KIT-300W).

18.- Study of the working regime of the pumping regulator: shadow effect (requires the PV-KIT-300W).

19.- Study of the working regime of the pumping regulator: variations of pumped flow (requires the PV-KIT-300W).

20.- Starting thresholds with and without converter (requires the PV-KIT-300W).

21.- Energy flow analysis: overall system performance (requires the PV-KIT-300W).

22.- Commissioning of the battery-powered wind pumping system (requires the WT-KIT-400W).

23.- Commissioning of the wind power pumping system without batteries (requires the WT-KIT-400W).

24.- Energy flow analysis: overall system performance (requires the WT-KIT-400W).

Other possibilities to be done with this unit:

25.- Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

26.- Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

27.- The Computer Control System with SCADA allows a real industrial simulation.

28.- This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

29.- This unit can be used for doing applied research.

30.- This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

6 SWPC/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

7 SWPC/FSS. Faults Simulation System.

Faults Simulation System (FSS) is a Software package that simulates several faults in any EDIBON Computer Controlled Unit.

The "FAULTS" mode consists in causing several faults in the unit normal operation. The student must find them and solve them.

There are several kinds of faults that can be grouped in the following sections:

Faults affecting the sensors measurement:

- An incorrect calibration is applied to them.

- Non-linearity.

Faults affecting the actuators:

- Actuators channels interchange at any time during the program execution.

- Response reduction of an actuator.

Faults in the controls execution:

- Inversion of the performance in ON/OFF controls.

- Reduction or increase of the calculated total response.

- The action of some controls is annulled.

On/off faults:

- Several on/off faults can be included.

b) Multipost Expansions options

8 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.