TENDER SPECIFICATIONS (for main items)

1 TA610/915C. Unit:

Wind tunnel with incompressible subsonic flow.

Made of high quality material.

Steel suport frame.

Panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Transparent working area of 610 x 915 mm to assemble and test the different models.

The working area includes a Pitot tube mounted in the top side to measure the air speed.

Outlet section with diffuser which allows the intensity of turbulences to be low (< 1).

Variable speed axial flow fan, computer controlled:

Maximum air velocity in the working area: 40 m/s (other speeds available on request).

Flow uniformity.

Different pressure tappings.

Differential pressure sensors.

Several models and scale accessories are available, allowing a comprehensive study of subsonic aerodynamics.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Additional recommended elements (Not included):

- TA1/610X915. Cylinder Drag Model (requires the balance TA13/610X915).

- TA2/610X915. Sphere Drag Model (requires a one of the balances TA13/610X915 or   TA14/610X915).

- TA3/610X915. JF-17 Airplane Drag Model (requires a one of the balances TA13/610X915 or TA14/610X915).

- TA4/610X915. F-16 Airplane Drag Model (requires a one of the balances TA13/610X915 or TA14/610X915).

- TA5/610X915. Boeing A380 Airplane Drag Model (requires a one of the balances TA13/610X915 or TA14/610X915).

- TA6/610X915. Boeing 747-200 Airplane Drag Model (requires a one of the balances TA13/610X915 or TA14/610X915).

- TA7/610X915. Wing Drag Model with three different NACA Profiles (requires the balance TA13/610X915).

- TA7.1/610X915.	Wing Drag Model with NACA 0015 Profile (requires the balance TA13/610X915).

- TA8/610X915. Car Drag Model.

- TA9/610X915. Cylinder Model with Pressure Tapping.

- TA10/610X915. Wings Model with three different NACA Profiles with Pressure Tapping.

- TA10.1/610X915. Wing Model with NACA 0015 Profile and with Pressure Tapping.

- TA11/610X915. Wake Survey Rake.

- TA12/610X915. Model Positioning System:

Pitching: -30° – 30°.

Yawing: -30° – 30°.

- TA13/610X915. External Pyramidal Balance:

Drag force: 378 N.

Side force: 422 N.

Lift force: 1223 N.

Rolling moment: 18 N·m.

Pitching moment: 18 N·m.

Yawing moment: 18 N·m.

Calibration unit with weights that automatically generates a calibration matrix of six components.

- TA14/610X915. Internal Sting Balance:

Drag force: 355 N.

Side force: 667 N.

Lift force: 1334 N.

Rolling moment: 28 N·m.

Pitching moment: 56 N·m.

Yawing moment: 28 N·m.

Calibration unit with weights that automatically generates a calibration matrix of six components.

- TA15/610X915. Manometer: 40 tubes.

- TA610X915-SGI. Smoke Generator for Flow Visualization with Distributor.

- APIV/80. PIV 2D flow Visualisation for Velocities up to 80 m/s and Area of 500 x 500 mm.

2 TA610/915C/CIB. Control Interface Box:

The Control Interface Box is part of the SCADA system.

Control interface box with process diagram in the front panel.

The unit control elements are permanently computer controlled.

Simultaneous visualization in the computer of all parameters involved in the process.

Calibration of all sensors involved in the process.

Real time curves representation about system responses.

All the actuators’ values can be changed at any time from the keyboard allowing the analysis about curves and responses of the whole process.

Shield and filtered signals to avoid external interferences.

Real time computer control with flexibility of modifications from the computer keyboard of the parameters, at any moment during the process.

Real time computer control for parameters involved in the process simultaneously.

Open control allowing modifications, at any moment and in real time, of parameters involved in the process simultaneously.

Three safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3 DAB. Data Acquisition Board:

The Data Acquisition board is part of the SCADA system.

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input: Channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536. Sampling rate up to: 250 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=16 bits, 1 in 65536.

Digital Input/Output: Channels=24 inputs/outputs.

The Data Acquisition board model may change at any moment, providing the same or better features than those required for the unit.

4 TA610/915C/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5 Cables and Accessories, for normal operation.

6 Manuals:

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

*	References 1 to 6 are the main items: TA610/915C + TA610/915C/CIB + DAB + TA610/915C/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.