TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Vertical wind tunnel for flow visualization.

Variable speed fan:

Maximum flow rate: 325 m³/h.

Speed in working section: 0 – 5 m/s.

Working area with transparent window for process visualization:

Dimensions of the working area: 180 x 100 x 240 mm.

Additional LED illumination for optimal visualization.

Easily removable transparent screen.

Flow straightener (comb): 23 strands with 7 mm spacing.

Smoke generator:

Power: 900 W.

Air velocity sensor, range: 0 – 20 m/s.

We include solids with various three-dimensional geometries, in order to observe different aerodynamic trajectories. These bodies are:

Aerodynamic profile NACA 2412.

Aerodynamic profile NACA 0015.

Cylinder.

Semi-sphere.

Sphere.

Slotted orifice.

Disc.

Circular orifice.

Tip of an airplane wing.

ISA nozzle.

Model of car and sports car with spoiler.

Truck and van model.

Operation conditions:

Well ventilated laboratory.

Storage temperature, range: -25 °C – 55 °C.

Operating temperature, range: 5 °C – 40 °C.

Maximum humidity: 80 % at temperatures below 31 °C decreasing linearly to 50 % at 40 °C.

Maximum sound level: 70 dB.

Control panel:

Metallic box.

Fan switch.

Fan regulator.

Digital display for air velocity.

Main switch.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Additional recommended elements (not included):

- TAVF180/100-AS. Additional Accessories Set for TAVF180/100.

Dimensions:  600 x 600 x 2200 mm approx. (23.62 x 23.62 x 86.61 inches approx.) Weight: 50 kg approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the aerodynamics in a commercial aircraft wing profile (NACA 2412 and NACA 0015 aerodynamic profiles).

2.- Study of the rotational flow in rounded shapes (cylinder and hemispheres).

3.- Study of flow through orifices (slotted orifice, disc, and circular orifice).

4.- Study of the turbulent phenomena that occur in the final part of the wing of an aircraft.

5.- Study of the flow through a valve (ISA nozzle).

6.- Study of the aerodynamics in different types of vehicles (car model, car with spoiler, truck and van).

7.- Study of the aerodynamics of a spoiler (sports car with wing).

Optional

TAVF180/100/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.