TENDER SPECIFICATIONS (for main items)

1 TBMC12. Unit:

Test bench for combustion engines up to 11 kW, with wheels to facilitate its mobility:

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Mounting base with vibration dampening device to instal the testing engine.

Transparent panels that allow to visualize the operation of the unit.

Computer controlled electric eddy current brake to generate the load:

Maximum power: 11 kW.

Transmission between the combustion engine and the brake through a double Cardan joint.

Acceleration of the combustion engine through the computer controlled fuel valve (acceleration/deceleration).

5  l capacity fuel tank: either for petrol or for diesel-oil (depending on the purchased test engine).

Inlet air circuit:

Air filter.

Easy and quick connection hose of Dext: 40 m.

Exhaust gases circuit:

Easy and quick connection hose of Dext: 40 m.

Instrumentation:

Speed sensor to measure the speed (rpm) of the engine, range: 0 – 6000 rpm.

Force sensor to measure the braking torque, range: 0 – 350 N·m.

Six “J“ type temperature sensors at different points of the process:

Inlet air temperature.

Exhaust gases temperature.

Fuel temperature.

Engine oil temperature.

Cooling system inlet and outlet water temperature.

Flow sensor to measure the fuel consumption, (depending on the purchased test engine):

Petrol, range: 20 – 160 ml/min.

Diesel-oil, range: 5 – 45 ml/min.

Two flow sensors to measure:

Inlet air flow to the combustion engine, range: 0 – 600 m³/h.

Exhaust gases outlet flow, range: 0 – 600 m³/h.

To obtain the correct power of an engine it is necessary to measure ambient conditions with:

"J" type temperature sensor.

Pressure sensor, range: 0 – 1 bar.

The unit includes all the safety measures required for a safe operation:

Temperature limit.

Limit switch to control if the brake and the engine are correctly connected.

Limit switch to control if any of the protection panels is open.

Safety pushbuttons.

Safety individual hearing protectors to be used during the practical exercises are included.

The Data Acquisition and Control Software of the "TBMC12" unit allows:

The calculation of representative magnitudes: power of the combustion engine and specific consumption of fuel.

The representation of the characteristic curves of the combustion engines: torque, power or specific consumption versus velocity of the combustion engine.

The representation of the measured and calculated magnitudes curves, in signal versus signal charts. Free configuration of the axes of these charts.

The representation in real time of all the measured and calculated magnitudes.

The recording of the test measurements versus time and generation of a file compatible with spreadsheet applications.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

Required elements (at least one) (Not included):

- TM12-01. Air-cooled 4-Stroke 1-Cylinder Gasoline and Diesel Engine (Variable Compression) for TBMC12.

Type of engine: Spark ignition/Compression ignition.

Fuel: Petrol and/orDiesel oil.

No. of cylinders: 1.

No. of strokes: 4.

Type of air intake: Naturally aspirated.

Type of cooling: Water.

Start: Electric.

Compression ratio: Variable.

Maximum torque: ~30 N·m.

Maximum power: 5.8 kW/1800 rpm CR=18:1. 5.7 kW/1860 rpm CR=8:1.

Cylinder bore: 87.5 mm.

Stroke: 110 mm.

Additional recommended elements (Not included):

- TM12-01SP. Indicator for Pressure Measurement in the Combustion Chamber of TM12-01.

- STRO. Stroboscope. Flash speed: 100 – 10000 flash per minute. Speed rate: 100 – 10000 rpm. Display: flash speed.

- TM12-02. Air-Cooled 4-Stroke 2-Cylinder Gasoline Engine for TBMC12.

Type of engine: Spark ignition.

Fuel: Petrol.

No. of cylinders: 2.

No. of strokes: 4.

Type of air intake: Naturally aspirated.

Type of cooling: Air.

Start: Electric.

Compression ratio: 8.5:1.

Maximum torque: 49.9 N·m/2400 rpm.

Maximum power: 16.8 kW/3600 rpm.

Cylinder bore: 80 mm.

Stroke: 67 mm.

Additional recommended elements (Not included):

- TM12-02SP. Indicator for Pressure Measurement in the Combustion Chamber of TM12-02.

- STRO. Stroboscope. Flash speed: 100 – 10000 flash per minute. Speed rate: 100 – 10000 rpm. Display: flash speed.

- TM12-03. Air-cooled 4-Stroke 2-Cylinder Diesel Engine for TBMC12.

Type of engine: Compression ignition.

Fuel: Diesel oil.

No. of cylinders: 2.

No. of strokes: 4.

Type of air intake: Naturally aspirated.

Type of cooling: Air.

Start: Electric.

Compression ratio: 19:1.

Maximum torque: 42 N·m.

Maximum power: 14 kW.

Cylinder bore: 85 mm.

Stroke: 75 mm.

Additional recommended elements (Not included):

- TM12-03SP. Indicator for Pressure Measurement in the Combustion Chamber of TM12-03.

- TM12-04. Air-Cooled 4-Stroke 1-Cylinder Gasoline and LPG Engine for TBMC12.

Type of engine: Spark ignition.

Fuel: Petrol or GLP.

No. of cylinders: 4.

No. of strokes: 1.

Type of air intake: Naturally aspirated.

Type of cooling: Air.

Start: Electric.

Additional recommended elements (Not included):

- TM12-04SP. Indicator for Pressure Measurement in the Combustion Chamber of TM12-04.

- STRO. Stroboscope. Flash speed: 100 – 10000 flash per minute. Speed rate: 100 – 10000 rpm. Display: flash speed.

Additional recommended elements (Not included):

- TBMC-AGE. Exhaust Gas Analyzer.

Measurements:

Carbon monoxide, CO (%).

Carbon dioxide, CO2 (%).

HC gasoline, propane, methane (ppm).

Oxygen, O2 (%).

Carbon monoxide adjusted (%).

Lambda factor.

Oil temperature.

Technical data:

Power supply: 115/230 VAC - 50/60 Hz - 68 W.

Measure time: 12 seconds (max.).

Warm-up time: 6 minutes (from 25 °C).

Working temperature: from +2 °C to +40 °C.

Humidity: 95 % max. (non-condensing).

Pressure: 800 - 1060 mbar.

CO (+/- 0.02 % abs +/- 3 % rel): from 0 to 15 %.

CO2 (+/- 0.3 % abs +/- 3 % rel): from 0 to 20 %.

HCg (+/- 4 ppm abs +/- 3 % rel): from 0 to 15000 ppm vol.

HCp (+/- 8 ppm abs +/- 3 % rel): from 0 to 30000 ppm vol.

O2 (+/- 0.1 % abs +/- 5 % rel): from 0 to 25 %.

COc (+/- 1 % abs +/- 3 % rel): from 0 to 20 %.

Lambda: from 0 to 9.999 rpm.

Oil temperature: 0 - 200 °C.

Sample gas tube length: 6 m approx.

Sample gas tube diameter: 5 mm approx.

USB wire to computer.

Control software.

- TBMC-CG. Computer Controlled Exhaust Gas Calorimeter.

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Double-wall tank, made in stainless steel, with a finned steel pipe heat exchanger inside.

Exchange volume: 13 l.

Heat exchange area on exhaust gas side: 1.2 m².

Heat exchange area on water side: 0.17 m².

Exhaust gas inlet at the bottom of the unit.

Exhaust gas outlet at the upper part of the unit.

Water inlet and outlet connections and hoses are supplied.

Connection between engine and calorimeter using an exhaust gas a heatresistant hose.

Regulation valve for the cooling water flow rate.

Four temperature sensors, “J” type, at different process stages, for measurement of:

Exhaust gases temperature at the input.

Gases temperature at the calorimeter output.

Water temperature at the calorimeter input.

Water temperature at the calorimeter output.

Flow sensor to measure the cooling water flow.

Pressure sensor for gases under analysis, range: 0 – 1 bar.

Measuring ranges:

Exhaust gas temperature: 0 – 600 °C.

Water temperature: 0 – 600 °C.

Flow rate: 0 – 600 l/hour.

- TBMC-AGE/NOx. Exhaust Gas Analyzer (NOx).

Measurements:

Carbon monoxide, CO (%).

Carbon dioxide, CO2 (%).

HC gasoline, propane, methane (ppm).

Oxygen, O2 (%).

Carbon monoxide adjusted (%).

Lambda factor.

Oil temperature.

Technical data:

Power supply: 115/230 VAC - 50/60 Hz - 68 W.

Measure time: 12 seconds (max.).

Warm-up time: 6 minutes (from 25 °C).

Working temperature: from +2 °C to +40 °C.

Humidity: 95 % max. (non-condensing).

Pressure: 800 - 1060 mbar.

CO (+/- 0.02 % abs +/- 3 % rel): from 0 to 15 %.

CO2 (+/- 0.3 % abs +/- 3 % rel): from 0 to 20 %.

HCg (+/- 4 ppm abs +/- 3 % rel): from 0 to 15000 ppm vol.

HCp (+/- 8 ppm abs +/- 3 % rel): from 0 to 30000 ppm vol.

O2 (+/- 0.1 % abs +/- 5 % rel): from 0 to 25 %.

COc (+/- 1 % abs +/- 3 % rel): from 0 to 20 %.

Lambda: from 0 to 9.999 rpm.

Oil temperature: 0 - 200 °C.

Sample gas tube length: 6 m approx.

Sample gas tube diameter: 5 mm approx.

USB wire to computer.

Control software.

2 TBMC12/CIB. Control Interface Box:

The Control Interface Box is part of the SCADA system.

Control interface box with process diagram in the front panel.

The unit control elements are permanently computer controlled.

Simultaneous visualization in the computer of all parameters involved in the process.

Calibration of all sensors involved in the process.

Real time curves representation about system responses.

All the actuators’ values can be changed at any time from the keyboard allowing the analysis about curves and responses of the whole process.

Shield and filtered signals to avoid external interferences.

Real time computer control with flexibility of modifications from the computer keyboard of the parameters, at any moment during the process.

Real time computer control for parameters involved in the process simultaneously.

Open control allowing modifications, at any moment and in real time, of parameters involved in the process simultaneously.

Three safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3 DAB. Data Acquisition Board:

The Data Acquisition board is part of the SCADA system.

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input: Channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536. Sampling rate up to: 250 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=16 bits, 1 in 65536.

Digital Input/Output: Channels=24 inputs/outputs.

The Data Acquisition board model may change at any moment, providing the same or better features than those required for the unit.

4 TBMC12/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5 Cables and Accessories, for normal operation.

6 Manuals:

This unit is supplied with 8 manuals: Required services, Assembly and Installation, Interface and Control software, Starting-up, Safety, Maintenance, Calibration & Practices manuals.

*References 1 to 6 are the main items: TBMC12 + TBMC12/CIB + DAB + TBMC12/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.-  Determination of the characteristic curves of an internal combustion engine at different speed regimes:

Torque.

Power.

Specific consumption of fuel.

2.-  Determination of the efficiency, fuel specific consumption and air-fuel ratio of an internal combustion engine.

3.-  Determination of the volumetric efficiency and the average effective pressure of an internal combustion engine.

Additional practical possibilities:

4.-  Familiarization with four strokes petrol and diesel engines.

5.-  Comparison of the characteristics of diesel oil and petrol engines.

6.-  Study of cooling in alternative internal combustion engines.

7.-  Pressure measurement in the combustion chamber of an engine (it requires the additional recommended element TM12-01SP or TM12-02SP or TM12-03SP).

8.-  Graphical representation of the combustion chamber pressure versus time and versus the position of the crankshaft (it requires the additional recommended element TM12-01SP or TM12-02SP or TM12-03SP).

9.-  Familiarization with the concept of supercharging for engines supercharged by a set of turbo and intercooler (it requires the required element TM12-02).

10.-Analysis of an internal combustion engine exhaust gases (it requires the additional recommended element TBMC-AGE). Recommended for petrol engines.

11.-Calculation of the heat contained in the exhaust gases of an internal combustion engine (it requires the additional recommended element TBMC-CG).

12.-Study of the ignition of a petrol combustion engine (it requires the additional recommended element STRO).

13.-Sensors calibration.

Other possibilities to be done with this unit:

14.-Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

15.-Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

16.-The Computer Control System with SCADA allows a real industrial simulation.

17.-This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

18.-This unit can be used for doing applied research.

19.-This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

20.-Control of the TBMC12 unit process through the control interface box without the computer.

21.-Visualization of all the sensors values used in the TBMC12 unit process.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

7 TBMC12/ICAI. Interactive Computer Aided Instruction Software.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

8 TBMC12/FSS. Faults Simulation System.

Faults Simulation System (FSS) is a Software package that simulates several faults in any EDIBON Computer Controlled Unit.

The "FAULTS" mode consists in causing several faults in the unit normal operation. The student must find them and solve them.

There are several kinds of faults that can be grouped in the following sections:

Faults affecting the sensors measurement:

- An incorrect calibration is applied to them.

- Non-linearity.

Faults affecting the actuators:

- Actuators channels interchange at any time during the program execution.

- Response reduction of an actuator.

Faults in the controls execution:

- Inversion of the performance in ON/OFF controls.

- Reduction or increase of the calculated total response.

- The action of some controls is annulled.

On/off faults:

- Several on/off faults can be included.

b) Multipost Expansions options

9 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.