TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Hermetic compressor, power: 3/8 HP.

Condenser and evaporator with fan, air flow: 980 m³/h.

Transparent tubes to observe the coolant change of state.

Storage vessel to prevent a wrong operation of the compressor, capacity: 0.5  l.

Additional storage tank for overfill and underfill study, capacity: 0.5  l.

Expansion devices:

Thermostatic expansion valve.

Three Capillary tubes of different lengths: 1.5 m, 3 m, 6 m.

Filter for the working fluid.

Sight glass for the working fluid.

High pressure switch, range: 8 – 32 bar.

Low pressure switch, range: 0.7 – 4 bar.

Liquid separator to prevent liquid from entering the compressor, capacity: 0.73  l.

Refrigerant flow meter, range: 5 – 60  l/h.

Wattmeter to measure the compressor power.

Four “J” type temperature sensors distributed at key points of the refrigeration cycle.

Five manometers distributed along the circuit to view the pressures in key points.

Enthalpy diagram of R-513a.

This unit has been designed for the use with the refrigerant R-513a, CFC-free, environmental friendly.

Electronic console:

Metallix box.

Main switch.

Temperature sensors connectors.

Selector for the temperature sensors.

Digital display for the temperature sensors.

Switch for the compressor.

Digital display for the compressor power measurement (Wattmeter).

Switch for the fan of the condenser.

Condenser fan controller.

Switch for the fan of the evaporator.

Evaporator fan controller.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Additional recommended elements: (Not included)

-T/KIT1. Maintenance Kit, containing: vacuum pump, hoses and manometers.

-T/KIT2. Maintenance Kit, containing: leakage detector.

-T/KIT3. Maintenance Kit, containing: Refrigerant Filling and Evacuation module.

Dimensions: Unit: 2000 x 800 x 680 mm approx. (78.74 x 31.50 x 26.71 inches approx.). Weight: 50 Kg approx. (110 pounds approx.).

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). Weight: 10 Kg approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Function and operational behaviour of the refrigeration circuit components.

2.-	Identification and study of the main components of a compression refrigeration system:

Compressor.

Evaporator.

Condenser.

Expansion valve.

3.-	Study and comparation of work  with  different expansión elements:

Expansion valve.

Capillary tubes of different lengths.

4.- 	Study of effect of underfilling or overfilling of the system with refrigerant.

5.- 	Study of finned tube exchagers  heat  in use witch condenser and evaporator in compression refrigeration circuit.

6.- 	Representation of the thermodynamic cycle in the log p-h diagram.

7.-	From the log p-h diagram and in comparison with the measured values:

Determination of the refrigeration capacity.

Determination of the coefficient of performance.

Determination of the efficiency of the compressor.

Additional practical possibilities:

8.-  Properties of the refrigerant R-513a.

9.-  Enthalpy-pressure diagram for the refrigerant R-513a.

- Several other exercises can be done and designed by the user.

Optional

TCRCT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.