Tender Specifications

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Six pipe sections:

Length: 1000 mm, each one.

Stainless steel pipe section with an external diameter of 1/2".

Copper pipe section with an external diameter of 10 mm.

Copper pipe section with an external diameter of 18 mm.

PVC pipe section with an external diameter of 20 mm.

PVC pipe section with an external diameter of 15 mm with an expansion compensator to compensate thermal stress in this section.

PE pipe section with an external diameter of 20 mm.

Six ball valves:

Five ball valves to select the pipe sections.

A ball valve situated in the water inlet line.

A thermostatic mixing faucet to adjust the water inlet temperature.

Five dial gauges to measure the elongation of the pipe sections.

A force measuring device to determine the thermal expansion force.

Two “J” type temperature sensors situated in the water inlet and outlet lines.

Water connections made using quick-release couplings.

Electronic console:

Metallic box.

Temperature sensors connections.

Selector for temperature sensors.

Digital display for temperature sensors.

ON/OFF main switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Dimensions: Unit: 1700 x 700 x 1800 mm approx. (66.93 x 27.56 x 70.86 inches approx.)  Weight: 100 Kg approx. (220 pounds approx.)

Electronic console: 300 x 190 x 130 mm approx. (11.81 x 7.48 x 5.11 inches approx.)  Weight: 3 Kg approx. (6.6 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Measurement of the pipe sections elongation.

2.-  Determination of the thermal expansion of different materials such as stainless steel, copper, PVC and PE.

3.-  Study of the effect of varying pipe diameter in the thermal expansion.

4.-  Determination of the thermal expansion coefficients.

5.-  Determination of the thermal expansion force.

6.-  Study of the expansion compensator.

Optional

TEDT/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (TEDT/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.