TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Diagram in the front panel with distribution of the elements similar to the real one.

The unit includes:

Four types of thermometers:

Bimetallic dial thermometers, range: -20 – 60 °C.

Liquid expansion thermometers, range: 0 – 60 °C.

“Pt100” type resistance temperature sensor, range: -75 – 250 °C.

“K” type temperature sensor, range: 0 – 1100 °C.

Four measuring sections:

Material: Cooper.

Section no.1: It includes three bimetallic dial thermometers situated at different positions.

Section no.2: It includes three liquid expansion thermometers situated at different heights.

Section no.3: It includes three bimetallic dial thermometers situated at different heights.

Section no.4: It includes one bimetallic dial thermometer, one liquid expansion thermometer, one “Pt100” type resistance temperature sensor and one “K” type temperature sensor situated at same height.

Flowmeter situated on the water inlet to measure the flow rate in the measuring sections, range: 150 – 1500  l/h.

Nine ball valves:

Ball valve situated in the water inlet line.

Eight ball valves situated in the measuring sections inlet and outlet lines to select individually the different sections.

Control valve situated in the water outlet line to regulate the water flow rate in the measuring sections.

Water connections made using quick-release couplings.

Control panel:

Digital display for the “pt100” temperature sensor.

Digital display for the “K” type temperature sensor.

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Dimensions: 1650 x 650 x 1900 mm approx. (64.96 x 25.59 x 74.80 inches approx). Weight:  40 Kg approx. (88 pounds approx).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Identification and familiarization with several devices of temperature measurement.

2.- Study of the function of bimetallic dial thermometers and liquid expansion thermometers.

3.- Study of the function of “Pt100” type resistance temperature sensors and “K” type temperature sensors.

4.- Study of the type of construction of bimetallic dial thermometers and liquid expansion thermometers.

5.- Study of the type of construction “Pt100” type resistance temperature sensors and “K” type temperature sensors.

6.- Study of the applications of bimetallic dial thermometers and liquid expansion thermometers.

7.- Study of the applications of “Pt100” type resistance temperature sensors and “K” type temperature sensors.

8.- Determination of the precision, sensitivity and error of measurement for different thermometers.

9.- Study of the influence of installation position, for the different thermometers, in the response and error of measurement.

Optional

TEMT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.