TENDER SPECIFICATIONS

Iron frame with ventilation grill.

Stainless steel water tank (volume: 70 l).

The entire boiler body is insulated with mineral wool.

Vapour generation: 28 - 36 Kg.v.h.

ON switch.

Indicator for the heating element switching on/off.

Pressure gauge to determine the pressure inside the generator, range: 0 - 6 bar.

Electric heating element: 18 kW.

Automatic admission valve.

Safety pressure switch (6 bar).

Safety valve: 6 bar.

Two safety level switches (one for minimum level and the other for maximum level).

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 700 x 500 x 800 mm approx. (27.55 x 19.68 x 31.49 inches approx.) - Weight: 60 Kg approx. (132.27 pounds approx.)