TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Heating system:

Hydraulic circulation pump:

Maximum flow: 3.6 m³/h.

Maximum height: 4 m.

Maximum operating pressure: 10 bar.

Temperature range: -10 –110 °C.

Six radiators:

Dimensions: 425 x 420 mm.

Made of aluminium.

Made up of five batteries.

Thermostatic valve with thermostatic head to control the temperature of the radiators.

Manual air purger to remove air from the system.

Lockshield.

Six automatic air vent valve.

Six balancing valves.

Differential pressure overflow valve.

Water expansion vessel.

Built in steel or similar.

Volume: 8 l.

Maximum service pressure: 5 bar.

Boiler safety group according to DIN 4751.

Seven flowmeters:

Six with a flow range: 60 – 650 l/h.

One with a flow range: 30 – 350 l/h.

Six butterfly valves.

Twelve thermometers at the entrance and exit of the radiators to control the temperature of entrance and exit of the radiators.

Water intakes with quick coupling.

Manuals:

This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 2300 x 1730 x 800 mm approx. (90.55 x 31.49 x 70.86 inches approx.) - Weight: 200 Kg approx. (440.92 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the hydraulic compensation system of a heating system.

2.- Study and understanding of a hydraulic balancing valve.

3.- Study and understanding of a thermostatic valve.

4.- Study of a differential pressure purge valve.

5.- Influence of water flow on the temperature distribution in the unit.

6.- Influence on hydraulic compensation operating only with two phases of the installation.

Optional

THBT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.