TENDER SPECIFICATIONS

Training unit with interchangeable sets and components mounted on plates.

Rapid connection via hoses for the training of apprentices in refrigeration.

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Hermetic compressor:

Displacement: 3.4 cm³.

Power: 1/10 CV.

Accumulator tank to avoid a malfunction of the compressor; Capacity: 1.2 l.

Liquid separator to prevent liquid from entering the compressor; Capacity: 0.9 l.

Six stand-alone, ready-to-operate sets, each mounted on a plate:

Set 1: Evaporator as air-refrigerant heat exchanger and capillary tube:

Finned tube heat exchanger.

Fan.

Capillary expansion tube.

Set 2: Evaporator as water-refrigerant heat exchanger and capillary tube:

Nickel-plated copper coil formed by nine spirals of 1/4” diameter, through which the refrigerant circulates. The heat transmission area is 0.032 m².

Polypropylene water tank (up to 170 °C) and capacity: 2000 ml.

Capillary expansion tube.

Set 3: Condenser as air-refrigerant heat exchanger:

Finned tube heat exchanger.

Fan.

Set 4: Condenser as water-refrigerant heat exchanger:

Nickel-plated copper coil formed by nine spirals of 1/4” diameter, through which the refrigerant circulates. The heat transmission area is 0.032 m².

Polypropylene water tank (up to 170 °C) and capacity: 2000 ml.

Set 5:

Flow meter. Range: 3 – 17.5 l/h.

Filter for the refrigerant.

Sight glass for the refrigerant.

Set 6: Double pressure control and manometers:

Pressure switch activation pressure:

Low pressure: 0 bar.

High pressure: 14 bar.

Two manometers with temperature scale for the refrigerant:

High pressure manometer. Range: -1 – 30 bar / -60 – 80 °C.

Low pressure manometer. Range: -1 – 10 bar / -60 – 50 °C.

Connection of the components with flexible hoses.

Enthalpy diagram of R-513a.

This unit has been designed for the use with the refrigerant R-513a, CFC-free, environmental friendly.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Required elements (Not included):

- T/KIT1. Maintenance Kit containing Vacuum Pump, Hoses and Manometers.

Additional recommended elements (Not included):

- T/KIT2. Maintenance Kit containing Leakage Detector.

- T/KIT3. Maintenance Kit containing Refrigerant Filling and Evacuation Module.

- Dimensions: 1400 x 650 x 1800 mm approx. (55.11 x 25.59 x 70.86 inches approx.) - Weight: 36 Kg approx. (79.36 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Construction of simple refrigeration circuits with different components.

2.- Identification and study of the main components of a compression refrigeration plant.

3.- Study of the basics of a simple refrigeration circuit.

4.- Identification and visualization of the changes in the refrigerant state.

5.- Understanding of the thermodynamic cycle.

6.- Study of the different modes of operation in a refrigeration circuit:

Cooling air.

Heating the air.

Generating refrigeration water.

Generating hot water.

7.- Representation of the refrigeration circuit in the process diagram.

8.- Representation of the thermodynamic process in the Ph diagram.

Additional practical possibilities:

9.- Evaluation of refrigeration capacity and heat fluxes for different operation modes.

10.- Properties of the R-513a refrigerant.

11.- Enthalpy-Pressure diagram for the refrigerant R-513a.

12.- Draining and filling the refrigeration system (requires the element T/KIT3).

13.- Detect refrigerant leaks (requires element T/KIT2).

Optional

TIR/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.