TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Platinum resistance thermometer with digital instrument: use this device to obtain temperature or volts data.

Thermistor thermometer: used to obtain volts data.

Bi-metal dial thermometer, range: 0 – 120 °C.

Vapour pressure thermometer which works following the relation between the temperature in a liquid and its vapour pressure, range: 0 – 120 °C.

Alcohol glass thermometer, maximum temperature: 110 °C.

Wet and dry bulb hygrometer. The dry bulb shows the air temperature, the wet one shows the temperature after evaporating the humidity. Dry bulb thermometer range: 0 – 50 °C.

Thermostatic bath with power regulator and thermostatic protection, used to heat the water until boiling point and check the temperatures with different temperature measuring devices, power: 600 W.

Vacumm flask, used to reach temperatures close to 0 °C and check the temperatures with different temperature measuring devices, capacity: 2  l.

Fan, used to cool the thermocouples and the thermostatic bath, range of air flow: 86 m³/h, 2550 rpm.

Self-adhesive patch temperature indicator. It changes colour depending on the temperature. This is reversible, it means, changes its colour although the temperature decreases.

Temperature sensors (for measuring the temperature through the digital temperature indicator or directly by a voltmeter):

Six “K“ type thermocouple.

“J“ type thermocouple.

“T“ type thermocouple.

Connections:

Shortcircuit connectors: three units to make parallel/series arrangements.

Thermocouple “J“, “K“, and “T“ type: eight connections.

Switched polarization connection.

Four connections for parallel arrangement.

Four connections for series arrangement.

Connection for thermistor.

Connection for platinum resistance thermometer.

Selector switch for enabling up to eleven sensors or thermocouples circuits to be connected to a digital temperature display.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 800 x 600 x 700 mm approx. (31.49 x 23.62 x 27.55 inches approx.) - Weight: 50 Kg approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Determining concepts of temperature measurements and scales.

2.-  Temperature scales: alcohol thermometer.

3.-  Demonstration of thermometric properties and characteristic behaviour of different sensors:

Peltier’s thermoelectric effect.

Seebeck’s thermoelectric effect.

Intermediate metals law.

Intermediate temperatures law.

4.-  Working with different temperature indicator devices:

Vapour pressure thermometer.

Bimetallic thermometer.

Wet and dry bulb thermometer.

5.-  Measuring precision, sensitivity and measuring errors of the different thermometers:

Direct measurement thermocouple.

Parallel association of thermocouples.

Series association of thermocouples.

6.-  Dynamic response:

Platinum resistance thermometer.

Thermistor.

7.-  Introduction to calibration techniques of each system.

8.-  Errors associated to a bad electrical connection.

9.-  Calibration errors.

Optional

TMT/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.