TENDER SPECIFICATIONS

The “TPTC” unit includes the following elements:

• TPT01. Three Phase Transformer 01.

Iron transformer core structure.

Winding columns.

Front upper support with screw terminals.

Dimensions: 150 x 150 x 30 mm (approx.)

• CHER. Tool Box.

Tool box Crimping tool.

Tin.

Tape measure.

Insulating tape.

Heat shrink tubing.

Tension tester screwdriver.

Phillips and flat screwdrivers.

Allen wrenches.

Soldering iron and soldering iron stand.

Rubber hammer.

Connection terminals.

Cable ties.

Wire cutter.

Screw terminal.

Required elements (Not included):

• N-VPS01. 3PH AC Power Supply Module.

Removable ON/OFF key.

Input voltage: 400 VAC, three phases and neutral.

Emergency stop push button

Adjustable three-phase thermal protection.

4-pole differential circuit breaker, 25 A, 300 mA AC 6 KA.

Fuses 3 x 6 A.

Motorized variable autotransformer:

Rated power: 3000 VA.

Input voltage: 400 VAC.

Fixed output voltage:

3 x 400 VAC+N. - 200 VDC.

Variable output voltage:

0 – 450 VAC (3PH+N).

0 – 240 VDC.

3-position switch with automatic return:

Position I: voltage reduction.

Position 0: constant voltage.

Position II: voltage increase

DC ammeter: 0 - 5 A.

AC ammeter: 0 - 5 A.

DC voltmeter: 0 - 300 V.

AC voltmeter: 0 - 500 V.

Rated current: 2 A.

Frequency: 50/60 Hz.

Three-phase power  cable with IP44 3PN + E 32A 400 V plug.

• MWMT. Manual Winding Machine for Motors and Transformers.

Mechanical handwheel.

Turn counter.

Winding molds.

Rods to place the winding molds

Winding parts of the transformer.

Allen keys.

Rod to place smaller coils

• MED65. Digital Multimeter.

Digital multimeter with 3 ½ digits, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we can measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• Coils of copper wire of outside diameter 1.12 mm, 17 AWG.

• Coils of copper wire of outside diameter 1.08 mm, 18 AWG.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 640 x 320 x 670 mm approx (25.19 x 12.59 x 26.27 inches approx.) - Weight: 35 kg. approx (77 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Step by step construction of a three-phase transformer.

2.- Study of different parts of a three-phase transformer.

Additional practical possibilities (with required elements modules):

3.- Verification of the three-phase transformer after its construction.

4.- Measurement of the different voltages in the primary and secondary winding.

5.- Determination of the transformation ratio of a three-phase transformer with different connections.

6.- Open circuit test.

- Several other exercises can be done and designed by the user.

Optional

TPTC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.