TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The unit includes:

Pressure regulating filter:

Maximum pressure: 8 bar.

Purge capacity: 8 cm³.

Pressure regulation valve to set the working pressure:

Maximum pressure: 8 bars.

Heat exchanger to set the working temperature:

Refrigeration capacity: 1580 W.

Vortex tube:

Cooling output: 190 W.

Temperature range: -60 °C to 110 °C.

Air consumption: 280  l/min.

Maximum working pressure: 8 bars.

Three vortex generators of 0.3, 0.46 and 0.6 mm diameter.

Two regulation valves to set the cold fraction.

Four ball valves to select the circuit to be recycled.

Instrumentation:

Inlet line to the vortex tube:

“J” type thermocouple.

Manometer, range: 0 to 10 bar.

Outlet line of the hot current:

“J” type thermocouple.

Manometer, range: 0 to 6 bar.

Flowmeter, range: 400  l/min.

Outlet line of the cold current:

“J” type thermocouple.

Manometer, range: 0 to 6 bar.

Flowmeter, range: 400  l/min.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, and Practices Manuals.

Dimensions: Unit:1000 x 480 x 650 mm approx. (39.37 x 18.89 x 25.59 inches approx.).  Weight: 25 kg approx. (55.11 pounds approx.)

Control-Interface Box: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.2 inches approx.). Weight:10 kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Function and operation of the vortex: demonstration of the cold and hot air generation without moving parts.

2.- Representation of the vortex curves:

Vortex curve in function of the inlet pressure.

Vortex curve in function of the inlet temperature.

Vortex curve for the refrigeration power:

In function of inlet temperature.

In function of inlet pressure.

3.- Refrigeration and/or efficiency capacity (COP, Coefficient of Performance):

In function of inlet temperature.

In function of inlet pressure.

Additional practical possibilities:

4.- Representation of the vortex curves:

Vortex curve varying the type of gas, “neither explosive nor corrosive”.

Vortex curve in function of the hot and/or cold gas ratio.

5.- Distribution of the cold air flow.

6.- Study of the differences changing the vortex generator:

Vortex curve in function of the inlet pressure.

Vortex curve in function of the inlet temperature.

Vortex curve for the refrigeration power.

Coefficient of performance (COP).

Optional

TPVB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.