TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Water inlet tube, including:

Temperature sensor type “J”.

Flow meter.

Valve to regulate the water inlet flow to the circuit (0 - 3 bars) to avoid overpressures along the circuit.

Regulation valve.

Recycle loop, where the water that flows through the periphery of the test tube is heated. It consits of:

Hot water impulsion pump.

Heating element of 2000 W. It includes a protection thermostat.

Three water regulation valves to select the recycle loop and regulate the water flow.

Three different volumes of recycle loop: additional volume, rigid pipe and flexible pipe.

Two temperature sensor type “J”.

Flow meter.

Water outlet pipe, including:

Temperature sensor type “J”.

Flow meter.

Electronic console:

Metallic box.

Temperature sensors connections.

Digital display for temperature sensors.

Selector for temperature sensors.

Pump regulator.

Electrical heating element controller.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Unit: - Dimensions: 1110 x 630 x 300 mm approx. (43.70 x 24.80 x 11.81 inches approx.). - Weight: 40 Kg approx. (88 pounds approx.).

Electronic console: - Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). - Weight: 12 Kg approx. (26.4 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Understanding the meaning of Water Recycle Loop.

Mass balances of steady state:

2.- Mass balance in the recycle loop in stationary regime with different water proportion in recirculation and different loops.

Heat balances of unsteady state:

3.- Determination of the recycle loop system response faced, when the heating element is switched on, at different flow rates and different loops.

4.- Determination of the recycle loop system response faced, when the heating element is switched off, at different flow rates and different loops.

Heat balances of steady state:

5.- Thermal balance in the recycle loop in stationary regime with different water proportions in recirculation and different loops.

Additional practical possibilities:

Mass balances of steady state:

6.- Demonstrating that whatever the recycle rate, the inlet flow rate equals the outlet flow rate.

Heat balances of unsteady state:

7.- Study of the effect of change the inlet flow.

8.- Study of the effect of recycle with no through flow.

Heat balances of steady state:

9.- Checking the variation of the outlet temperature, with the heating element switched on and a fixed water flow at the inlet, caused by different recycled flow.

10.- Determination of the heat quantity absorbed in the recycle loop.

11.- Use of the steady flow energy equation for the overall system.

12.- Use of the steady flow energy equation for different points of the system.

13.- Study of the system response when the recycle flow is changed.

14.- Study of the system response when the inlet-outlet flow is changed.

15.- Study of the system response when the recycle volume is changed.

16.- Study of the system response when the heating element power is changed.

Optional

TRLB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.