TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Compression refrigeration system, consisting of:

Hermetic compressor, power 1/8 CV.

Thermostatic expansion valve.

Evaporator: copper pipe coil.

Condenser: copper pipe coil.

Receiver. Capacity: 0.5  l.

Liquid separator to prevent liquid from entering the compressor. Capacity: 0.73  l.

Filter for the refrigerant.

Sight glass to monitor the aggregate state of the refrigerant.

Two tanks to fill with water:

Capacity: 2000 ml.

Material: polypropylene.

Two thermometers to demonstrate the heating and cooling effect in the water tanks, range: -10 – 60 °C.

Two manometers with temperature scale for the refrigerant indicate the values of the refrigerant in the high and low pressure sides:

Low pressure manometer in the intake side, range: -1 – 10 bar / -60 – 43 °C.

High pressure manometer in the delivery side, range: -1 – 30 bar / -60 – 85 °C.

Pressure switch to protect the compressor, range: 8 – 32 bar.

Enthalpy diagram of R-513a.

This unit has been designed for the use with the refrigerant R-513a, CFC-free, environmental friendly.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Dimensions: 700 x 500 x 800 mm approx. (27.55 x 19.68 x 31.49 inches approx.). Weight: 25 kg approx. (55.11 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Demonstration of the compression refrigeration cycle and visualization of the most important processes.

2.- Analysis of the basic essentials of a compression refrigeration system.

3.- Identification and study of the main components of a compression refrigeration system:

Compressor.

Evaporator.

Condenser.

Expansion valve.

4.- Study of the relationship between pressure and boiling point of a liquid.

5.- Energy balance.

6.- Learning about the main factors that can affect the refrigeration system performance.

Additional practical possibilities:

7.- Properties of the refrigerant R-513a.

8.- Enthalpy-pressure diagram for the refrigerant R-513a.

Optional

TSCR/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.