TENDER SPECIFICATIONS

Steel frame and painted steel panels.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Ten transparent toilet tanks with solenoid valves controlled by the user via remote control:

Six tanks of 10  l.

Four tanks of 20  l.

Two toilets controlled by the user.

Toilet with tank.

Toilet with pressure flush.

All pipes are transparent to allow visualization of the flow interior.

Linear actuator for aeration of the downspout.

Two solenoid valves for pipe aeration.

Measuring instruments:

Eight tube manometers: 850 mm WC to measure pressure along the downpipe.

Flow meter with range: 0.5 – 6.3 m3/h.

Pump:

Power: 0.55 kW.

Flow: 4.4 m3/h.

Manometric height: up to 45 m.

Collection tank:

Approximate volume: 300 l.

Control panel:

Main switch.

Emergency stop.

Pump switch.

Pump speed regulator.

Linear actuator switch for downspout aeration.

Solenoid valve switches for aeration.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 6000 x 800 x 4000 mm approx. (236.22 x 31.49 x 157.48 inches approx.). Weight: 1200 kg approx. (2645 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the flow in branch pipes and problems of erroneous designs.

2.- Study of the behaviour of siphons and the suction effect in pipes.

3.- Study of the aeration in pipes due to a correct dimensioning.

4.- Study the development of pressure in the downpipe.

5.- Study of the choice of joints and diameter changes in the drainage networks.

6.- Study the ventilation in the drainage systems.

7.- Study of the sizing of the main drain.

8.- Study of the flow measurement with rotameter.

Optional

TSID/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.