TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Water propeller pump, maximum flow of water of 120  l/h.

Air propeller with a fan with speed control: 145 m³/h max, 3000 rpm.

Heating element: 60 °C max.

Water tank, capacity: 14  l.

Level switch in the tank.

Flow meter, range: 0.2 – 2  l/min.

Two inclined manometers, length: 300 mm.

Up to sixteen temperature sensors, “J” type (of dry bulb, wet bulb and water temperature), according to the column supplied.

It included an optional column type B:

Nº of levels: 8. Nº of sheets by level: 10. Total surface: 1.013 m². Height of packaging: 650 mm. Density Area/volume: 58 m²/m³ .

Electronic console:

Metallic box.

Temperature sensors connections.

Digital display for temperature sensors.

Selector for temperature sensors.

Heating element controller.

Pump switch.

Fan switch and fan controller.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Additional recommended elements (Not included):

- TTEB/A. Optional Column type "A" for TTEB:

Nº of levels: 8.

Nº of sheets by level: 19.

Total surface: 1.915 m².

Height of packaging: 650 mm.

Density area/volume: 112.64 m²/m³.

- TTEB/C. Optional Column type "C" for TTEB:

Nº of levels: 8.

Nº of sheets by level: 7.

Total surface: 0.680 m².

Height of packaging: 650 mm.

Density area/volume: 40.02 m²/m³.

- TTEB/D. Optional Column type "D" for TTEB:

No packaging.

- TTEB/E. Optional Column type "E" for TTEB:

(Packing characteristics column): with packing arranged to allow measurement of air and water properties within column. Fitted with temperature sensors in 3 points.

Sensors:

Temperature sensors of dry bulb.

Temperature sensors of wet bulb.

Water temperature sensors.

Nº of levels: 8.

Nº of sheets by levels: 19.

Height of column: 1100 mm.

Height of packing: 650 mm.

Density area/volume: 112.64 m²/m³.

Unit: - Dimensions: 1000 x 450 x 1400 mm approx. (39.37 x 17.72 x 55.12 inches approx.).- Weight : 100 Kg approx. (220 pounds approx.)

Electronic console : - Dimensions: 490 x 330 x 310 mm approx. (19.29 x 13 x 12.20 inches approx.).- Weight: 10 Kg approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Process observation inside a bench top cooling tower.

2.- Determination of evaporation velocity.

3.- Mass balance. Use of psychrometric charts.

4.- Energy balance.

5.- Effect of cooling load against "Wet bulb approach".

6.- Relation between air velocity, wet bulb approach and head loss.

7.- Determination of the cooling capacity.

8.- Determination of the cooling capacity for different cooling towers.

9.- Thermodynamic properties.

10.- Evaporation from a wet bed.

11.- Observation of water flow pattern and distribution.

Additional practical possibilities:

12.- Variation of specific enthalpy with pressure.

13.- Properties of air.

14.- Use of a psychometric map.

15.- Determination of water flow.

Optional

TTEB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.