TENDER SPECIFICATIONS

Portable gas detector that detects all existing the refrigerants including HFC, HCFC and CFC:

High sensitivity mode to locate small leaks.

Audio and visual (LED) leak indicator.

400 mm gooseneck reaches awkward areas.

Response time: 1s.

Operating temperature: 0 °C –  40 °C.

- Dimensions: 180 x 70 x 35 mm approx. (7.08 x 2.75 x 1.37 inches approx.) - Weight: 0.5 kg approx. (11 pounds approx.)