TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Transparent elements for a better observation of the process.

Extraction process:

Jacketed glass column packed with glass Raschig rings:

Length: 1200 mm.

Internal diameter: 50 mm.

Two enlargement pieces at the ends, capacity: 2 l.

Distillation process:

Boiler for the distillation, heated by an adjustable electric heating mantle, capacity: 5 l.

Jacketed glass column packed with glass Raschig rings:

Length: 500 mm.

Internal diameter: 25 mm.

Coolant column.

Five Pyrex storage tanks for the feed, refined, solvent, extract and solute, capacity (each one): 10 l. They include drain valves.

Supply circuits and product collection circuits to connect the different components of the unit. They include five sampling taps, distributed between all the circuits of the unit, to control the process in all the pipelines of fluid, three-way directional valves, drain valves and a regulating valve.

Two adjustable speed diaphragm pumps:

Diaphragm pump with stainless steel head to pump the feed, max. flow: 47 l/h, max. pressure: 5 bar.

Diaphragm pump with stainless steel head to pump the solvent, max. flow: 17 l/h, max. pressure: 5 bar.

Electrical heating mantle, power: 800 W.

Two “J type” temperature sensors to measure the temperature in the column head and the boiler temperature in the distillation process.

Two flowmeters to measure the feed and solvent flow:

Flowmeter for acetic acid 4%, range: 0 – 48 l/h.

Flowmeter for trichloromethane, range: 0 – 17 l/h.

The unit includes safety devices in the pumps to avoid shortcomings by overpressure. There are two pressure switches that switch off the pumps when the pressure is high.

Electronic console, including:

Two switches for the diaphragm pumps (for the feed and for the solvent).

Two speed controls for the diaphragm pumps.

Two control panels for the diaphragm pumps.

Switch for the electrical heating mantle.

Display for the temperature sensors.

Control display for the heating mantle (AR-1).

Cables and accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Additional recommended element (Not included):

-UELL-CP. Distillation column, 5 plates type.

- Dimensions:  1400 x 700 x 1950 mm. approx. (55.11 x 27.55 x 76.77 inches approx.). - Weight: 100 kg. approx. (220 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Preparation of acid–base titration of the feed.

2.-  Obtaining of the binodal curve.

3.-  Study of theoretical and experimental mass balances.

4.-  Calculation of the flooding velocity of the extraction column.

5.-  Regulation of the height of the interface in the extraction column.

6.-  Determination of the critical point existence.

7.-  Study of the effect of the temperature in the liquid-liquid extraction process.

8.-  Calculation of the mass transfer volumetric coefficient, referred to the continuous phase.

9.-  Study of the efficiency of the extraction.

10.-Study of the batch operation regarding the solvent or the supply.

11.-Study of the extraction process for industrial processes.

12.-Calculation of the solvent recovery effectiveness.

13.-Study of the distillation process control.

14.-Repetition of the previous practical exercises for different compounds.

Optional

UELL/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.