TENDER SPECIFICATIONS

Structure made of painted iron.

The unit includes wheels to facilitate its mobility.

Diagram in the front panel with distribution of the elements similar to the real one.

Vacuum pump:

Material: parts in contact with the fluid in PTFE.

Flow rate: 18.9 m³/h.

Final pressure: 2.5 x 10-3 mbar.

Power: 750 W.

Condensate trap tank:

Volume: 3 l.

Material: stainless steel.

Instrumentation:

One manual globe valve.

- Dimensions: 400 x 450 x 700 mm approx. (881.8 x 992.08 x 1543.2 inches approx.) - Weight: 50 kg approx. (110.22 inches approx.)