TENDER SPECIFICATIONS

The “WIT-MCB” application includes the following elements:

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum frame:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Frame height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-phase connection plug.

Safe electric box:

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 kA.

Emergency stop push-button (230/400 VAC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.

• FP-KIT-1. Feeders Installation Kit.

Magnetothermal differential circuit breaker.

Encapsulated three-phase fuse holder.

Cartridge fuses.

Electrical panel.

• FP-KIT-4. Wiring Installation Kit.

100 m of grey wire of 1.5 mm².

100 m of brown wire of 1.5 mm².

100 m of black wire of 1.5 mm².

100 m of green/yellow wire of de 1.5 mm².

25 m of screened wire.

• FP-KIT-10. Tubes and Fittings for Channeling Wiring Kit.

PVC electrical conduit for wiring installation, 20 m.

7 x Electrical box.

Cable guide.

20 x Cable clamp, 20 mm.

• FP-KIT-32/B. Switch Kit 2.

Crossover switch.

Teleswitch.

Remote control switch.

Case for storing switches.

• FP-KIT-37. Fluorescent Ceiling Fixture Kit.

2 x Fluorescent tube line, 8 W (with tube holder).

• FP-KIT-59. Meter Cabinet Kit.

Three-phase digital meter.

Distribution panel.

Two-pole circuit breaker.

Differential switch 4P, 25 A, 30 mA.

Circuit breaker 3P, 16 A, 6 kA.

Circuit breaker 1P, 16 A, 6 kA.

4-phase distribution comb, 400 VAC.

Copper busbar 3P + N.

2 x Busbar support and insulator.

Busbar box.

Contactor 3P, 9 A, 230 VAC.

16 A limit switch.

Secondary busbar block 8 ways, 80 A, 60 VAC.

12 x DIN rail adapter.

Assortment of 200 labels.

2 x Storage case.

Required elements (Not included):

• CHER. Tool Box.

Crimper.

Tin.

Meter.

Insulating tape.

Heat shrink.

Pin punch.

Star and flat screwdrivers.

Allen keys.

Soldering iron and soldering iron support.

Rubber hammer.

Connection terminals.

Cable ties.

Cable cutters.

Clamps.

Additional recommended elements (Not included):

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• FP-KIT-10/B. Rigid Tube Kit.

20 m PVC rigid tube.

10 x Threaded connector.

5 x Elbow for conducts clamping.

• FP-KIT-5. Measuring Kit.

Clamp meter:

Clamp for alternating/direct current measurements contactless.

The clamp can measure:

Current.

Voltage.

Resistance.

A voltage and continuity tester:

Voltage range: 12 - 690 VAC.

Phases rotating detection in three-phase systems.

Polarity tester.

• FP-KIT-57. Smart Meter and Data Concentrator.

Smart meter:

Power supply: 230 VAC.

The SM module can carry out the following measurements and controls:

Current measurements.

Voltage measurements.

Active and reactive power measurement in four quadrants.

Bidirectional measurements of the active and reactive energy in four quadrants.

Power factor measurements.

Smart relay to be controlled from the data concentrator platform web.

Data concentrator:

Power supply: 380 VAC.

The communications concentrator consists of:

A metering system formed by a number of smart meters (on our case, there is one residential smart meter). The data concentrator communicates with the smart meter by means of a power line.

Remote control system. It is a web platform that let us have access to the data concentrator, visualize all the smart meters connected to the power line and configure different parameters, visualize all the electrical parameters of the load connected to each smart meter, etc.

Configuration and control software (platform web).

The CTT module includes a platform web to control the smart meter.

So, the user can perform the following functions:

Real time monitoring, remote management and verification of the network quality.

Relay breaker to limit the maximum consumed power by the final user.

Bidirectional communication between the utility (the student) and the smart meter: the student can control and monitoring the loads state and limit the maximum power required.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 1500 x 400 x 1800 mm approx. (78.74 x 15.75 x 78.74 inches approx.) - Weight: 80 Kg approx. (220 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Configuration, assembly and wiring of a meter board with sub-distribution.

2.- Installation of a digital meter.

3.- Installation and wiring of the meter cabinet protection elements..

4.- Simple installation circuits in supply entry rooms.

5.- Measurement of energy and active and reactive power with the digital meter connected to the fluorescent lamps.

6.- Configuration, assembly and wiring of the smart meter and data concentrator.

7.- Measurement and management of the smart meter and data concentrator via Ethernet with PC.

- Several other exercises can be done and designed by the user.

Optional

WIT-MCB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.